Unit 103: Electrical scientific principles and technologies

# Worksheet 4d: Resistance, resistivity, voltage, current and power (learner)

Resistors in series

1.	Complete the following table for resistors that are all connected in series.

|  | R1 | R2 | R3 | R4 | RT |
| --- | --- | --- | --- | --- | --- |
| a. | 7 Ω | 10 Ω | 8 Ω | 15 Ω |  |
| b. | 7 Ω | 16 Ω | 8 Ω | 19 Ω |  |
| c. | 1.5 Ω | 5.6 Ω | 8.2 Ω | 7.3 Ω |  |
| d. | 0.03 Ω | 0.105 Ω | 1.06 Ω | 2.007 Ω |  |
| e. | 15 MΩ | 21.3 MΩ | 1.4 MΩ | 5.3 MΩ |  |
| f. | 15 mΩ | 83 mΩ | 26 mΩ | 9 mΩ |  |
| g. | 2 Ω | 500 mΩ | 1 kΩ | 1.2 MΩ |  |

2.		Calculate the value of resistor to be connected in series with two series connected resistors each of 1.8 and 5.6 to give a total resistance of 10.

3.		How many resistors of 0.27 must be connected in series to give a total resistance of 3.51?

4.	Two resistors connected in series have a combined resistance of 89.75. If the resistance of one resistor is 23.5, what is the value of the other resistor?

5.	Six resistors of equal value are connected in series. Calculate the value of the individual resistors if the total resistance is 14.4.

6.	Four resistors in series have voltage drops across them of 37V, 55V, 19V and 9V. Calculate the supply voltage.

7.	Four resistors with values of 3, 4, 6 and 10 are connected in series to a supply of 230 volts. Calculate the voltage drop across each resistance in the circuit.