Unit 103: Electrical scientific principles and technologies

# Worksheet 5: Electromagnetism (learner)

Electro-magnetism fields

Complete the flux patterns for the following arrangements.

1.

2.

3.

4.

5.

6.

emf generation

7.	Calculate the induced emf in a cable with an effective length of 0.25m moving at a velocity of 5m/s, through a magnetic field with a flux density of 1.6 tesla.

8.	The emf in a conductor of effective length 0.25m moving at right angles through a magnetic field at a velocity of 5m/s is 1.375 volts. Calculate the magnetic flux density.

9.	In the diagram below label the meaning of the thumb, first finger and second finger to represent Fleming’s right hand generator rule.

ac generation

10	Sketch a sine wave.

11.	A sine wave has a peak voltage of 100V, calculate the RMS value.

12.	A sine wave has a peak voltage of 100V, calculate the AVERAGE value.

13.	A sine wave has a peak voltage of 565.7V, calculate the RMS value.

14.	A sine wave has a peak voltage of 565.7V, calculate the AVERAGE value.

15.	A sine wave has a peak voltage of 90V, calculate the RMS value.

16.	A sine wave has a peak voltage of 90V, calculate the AVERAGE value.

17.	A sine wave has an RMS voltage of 40V, calculate the PEAK value.

18.	A sine wave has a RMS voltage of 200V, calculate the PEAK value.