Unit 103: Electrical scientific principles and technologies

# Worksheet 8: Machines (learner)

dc machines

Using your notes answer the following questions.

1.	Complete and label the following diagram for a shunt wound dc motor.

2.	Complete and label the following diagram for a long shunt compound wound dc motor.

3.	Complete and label the following diagram for a series wound dc generator.

4.	Complete and label the following diagram for a separately excited dc generator.

Three-phase

Using your notes, answer the following questions.

5.	Calculate the synchronous speed of a six-pole motor when connected to a 60Hz supply.

6.	A four-pole synchronous motor rotates at a synchronous speed of 50rps. Calculate the supply frequency.

7.	A motor rotates at a synchronous speed of 30rps when connected to a 60Hz supply. Calculate the number of poles in the motor.

8.	A motor has a synchronous speed of 50rps and runs at 2850rpm when connected to a 230-volt 50Hz supply. Calculate:

a.	per unit slip

b.	percentage slip.

9.	A motor has a synchronous speed of 60rps and runs with 2% slip. Calculate its actual speed of rotation.

Single-phase

Using your notes, answer the following questions.

10.	Complete and label the following diagram for a split-phase ac motor.

11.	Complete and label the following diagram for a capacitor start ac motor.

12.	Complete and label the following diagram for a capacitor start, capacitor run ac motor.

13.	Complete and label the following diagram for a universal motor.

Motor starting

Using your notes, answer the following questions.

14.	Complete and label the following diagram for a DOL starter.

15.	Complete and label the following diagram for a star–delta starter.

16.	Complete and label the following diagram for a rotor resistance starter.