Unit 103: Electrical scientific principles and technologies

# Worksheet 9: Electrical components (learner)

Electrical components

Using your notes, answer the following questions.

1.	Briefly describe the operation of a solenoid.

2.	Briefly describe the operation of a relay.

Protective devices

Using your notes, answer the following questions.

3.	What is meant by the term ‘overcurrent’?

4.	What is meant by the term ‘overload current’?

5.	What is meant by the term ‘fault current’?

6.	What is meant by the term ‘protective conductor current?

7.	List the five sizes of BS 3036 fuses including their colours.

8.	State three advantages of BS 3036 fuses.

9.	State three disadvantages of BS 3036 fuses.

10.	State three advantages of BS 88-3:2010 fuses.

11.	State three disadvantages of BS 88-3:2010 fuses.

12.	State three advantages of BS 88-2:2010 fuses.

13.	State a disadvantage of BS 88-2:2010 fuses.

14.	State three advantages of BS EN 60898 circuit breakers.

15.	State a disadvantage of BS EN 60898 circuit breakers.

16.	State the three type classifications of circuit breakers currently available.

17.	State the general principle of operation of an RCD.