2346/5357 LEVEL 3

ELECTROTECHNICAL QUALIFICATIONS

WORKPLACE LOGBOOK

ASSESSOR/IQA

I confirm that this candidate has achieved all the requirements of the units within the logbook and with the evidence listed. Assessment was conducted under the specified conditions and context, and is valid, authentic, reliable, current and sufficient.

Assessor signature

Date

IQA signature

Date

2346/5357 LEVEL 3

ELECTROTECHNICAL QUALIFICATIONS

WORKPLACE LOGBOOK

Name

City & Guilds enrolment number Centre name

Centre number Trainer

Date registered with City & Guilds

Date

Candidate signature

Candidate name

CANDIDATE

I confirm that the evidence supplied in the logbook is authentic and a true representation

of my own work. The work logged is my own work carried out during my normal work duties.

Assessor name

IQA name

Expert witnesses	5

Workplace logbook candidate guide	6

Unit 102: Apply health, safety and environmental considerations	9

Unit 106: Organise and oversee the electrical work environment	27

Unit 108: Terminate and connect conductors	46

Unit 109: Apply design and installation practices and procedures (optional unit)	60

Unit 110: Apply practices and procedures for maintenance (optional unit)	86

Unit 113: Inspect, test and commission electrical systems	103

Unit 115: Apply fault diagnosis and rectification	114

Appendices	140

For an expert witness to confirm competence in the workplace he/she must be able to demonstrate the following criteria:

- current knowledge of industry working practices and techniques

- no conflict of interest in the outcome of their evidence.

The designated expert witness should ordinarily be your immediate work supervisor. It is recognised that over the lifetime of the qualification you may be allocated more than one expert witness.

Therefore, each expert witness allocated to you must complete the following requirements.

Date

Expert witness signature

Expert witness name

I confirm I am suitably experienced or qualified in line with the industry requirements for expert

witness as detailed above. I acknowledge that I will only counter-sign documentation requested    by the candidate where to my knowledge only the candidate has completed the work and on the understanding that the work has been carried out to a commercially acceptable standard.

Date

Expert witness signature

Expert witness name

I confirm I am suitably experienced or qualified in line with the industry requirements for expert

witness as detailed above. I acknowledge that I will only counter-sign documentation requested    by the candidate where to my knowledge only the candidate has completed the work and on the understanding that the work has been carried out to a commercially acceptable standard.

Date

Expert witness signature

Expert witness name

I confirm I am suitably experienced or qualified in line with the industry requirements for expert

witness as detailed above. I acknowledge that I will only counter-sign documentation requested    by the candidate where to my knowledge only the candidate has completed the work and on the understanding that the work has been carried out to a commercially acceptable standard.

Date

Expert witness signature

Expert witness name

I confirm I am suitably experienced or qualified in line with the industry requirements for expert

witness as detailed above. I acknowledge that I will only counter-sign documentation requested    by the candidate where to my knowledge only the candidate has completed the work and on the understanding that the work has been carried out to a commercially acceptable standard.

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	5

This workplace logbook may be used with the 5357 apprenticeship on-programme course or the 2346 Experienced Worker route.

This evidence workplace logbook is to be used as you complete naturally occurring jobs and tasks      in the workplace. You may also find that your employer has documentation that you can use as part  of evidence in this workplace logbook, but please check this with your assessor to ensure it meets   the performance criteria.

The workplace logbook will provide evidence of your ability by completing onsite tasks to show you are competent against the performance criteria set out in this workplace evidence record. The recording sheets necessary for you and your assessor to record detail of the work carried out (evidence produced) are included in this workplace logbook.

Once you have started working on a unit in the classroom and you have obtained sufficient knowledge you can start filling out this workplace logbook.

It is a good idea to speak to your assessor and draw up a plan.

## WHAT IS SUPPORTING EVIDENCE?

Supporting evidence is additional evidence that supports the work carried out. Guidance to supporting evidence requirements can be discussed with your assessor.

## HOW WILL I BE ASSESSED TO SHOW THAT I AM COMPETENT AGAINST THE PERFORMANCE CRITERIA?

There are several methods of providing proof of competence:

DO – Direct observation

PE – Product evidence (product assessment)

RA – Reflective account

PD – Professional discussion

WT – Witness testimony

OQ – Oral question WQ – Written question JR – Job record

Direct observation (DO) – Your assessor visits your workplace to see you doing a particular job and completes details of the work you have been observed doing. He/she will identify whether   the work you have carried out is to an acceptable standard. You may be asked a number of

oral questions in support of the assessment process and these will be detailed on the direct observation record. The assessor will also work with you to forward plan future visits and work that you need to produce to progress your programme.

Product evidence/assessment (PE) – Your assessor, while visiting you on site, checks work that you have previously carried out while he/she was not present. This checking process will include discussion with your expert witness (supervisor).

Photographic evidence – Should be taken at the time of the event, dated and authenticated by an expert witness. The photographs should reflect the work being carried out in the job records  and the evidence recorded in these.

6	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

Reflective account (RA) – You provide full written details of a job and your expert witness provides confirmation on the recording sheets provided in this evidence record that the work was done by you and it was carried out to a commercially acceptable standard.

Professional discussion (PD) – Your assessor may wish to engage in a professional discussion, which will be recorded. This form of assessment is useful to supplement performance and written evidence to show that you have met the level of competency required.

Witness testimony (WT) – Provides an account of what the candidate does, or has done recently, in their job role.

Oral question (OQ) – Your assessor may need to assess some task items through questioning you about the work. Details of oral questions asked and your responses are written in the space provided on the relevant task sheet. This should be related to the evidence produced for relevant performance units and criteria.

Written question (WQ) – You may be asked to provide one- or two-word answers as well as answers that may need a few sentences.

Job records (JR) – These are designed to meet and capture evidence of the performance criteria as you are carrying out tasks on site.

## WHAT IF I MAKE A MISTAKE WHEN COMPLETING THE SHEETS?

If you make a mistake when completing the sheets, simply draw a line through the mistake, and date and sign alongside the mistake. Duplicate sheets can be included as required.

Please do not use correction fluid in this workplace evidence record.

## HOW DO I COMPLETE THIS WORKPLACE EVIDENCE RECORD?

Each performance unit is split into five sections. These are the unit brief, checklist, range/evidence tracker, job records and supplementary evidence and feedback.

Unit brief – gives you an overview of the unit, what is expected of you and likely sources of evidence. It is important to pay close attention to this so that you can meet and show you are competent against all the performance criteria. You will notice there are also questions to support you in producing examples of evidence. These questions cover the whole of the unit.

Unit checklist (completed by the assessor) – tracks your progress through the performance unit that you are working on. It also identifies and verifies the assessment method used to meet the performance criteria. The performance criteria must be assessed on a minimum of two occasions.

Unit range/evidence tracker (completed by the candidate) – identifies how you have met the minimum required content across the performance unit and where the evidence for this can be found. The range must be covered on a minimum of two separate occasions.

Job records (completed by the candidate) – some of the performance units contain a job  record that is specifically designed to meet the performance criteria of that particular unit. For example, these may contain risk assessments or tool lists that have to be completed. For you to

be successful at completing the performance units within this qualification, you have to complete   the job records as guided in this workplace logbook. We recommend all job records are completed alongside any direct observation.

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	7

Supplementary evidence, feedback, etc – at the end of each unit, there is a section that will give information on what supplementary evidence needs to be provided to meet the performance criteria, and a section for your supervisor/assessor to give feedback  on  your  performance  and areas to improve.

## WHAT APPRENTICESHIP BEHAVIOURS ARE REQUIRED AND HOW ARE THEY ASSESSED?

The behaviours below are embedded into the performance units in this workplace logbook. These behaviours are part of the apprenticeship, and an expert witness and/or your assessor will also assess you against them. They will record and give feedback on your performance against these behaviours.

- Behaviour 1 (B1): Works reliably and effectively without close supervision

- Behaviour 2 (B2): Accepts responsibility for the work of themselves and others

- Behaviour 3 (B3): Accepts, allocates and supervises technical and other tasks

- Behaviour 4 (B4): Uses oral, written and electronic methods for the communication of technical and other information

- Behaviour 5 (B5): Works effectively with colleagues, other trades, clients, suppliers and the public

- Behaviour 6 (B6): Undertakes work in a way that contributes to sustainable development

- Behaviour 7 (B7): Maintains and enhances competence in own area

- Behaviour 8 (B8): Exercises responsibilities in an ethical manner

## WHO DOES WHAT?

### The candidate

You (the candidate) need to complete the following sections:

- range/evidence tracker

- job records

- supplementary evidence and feedback.

### The assessor

Your assessor needs to complete the remaining sections:

- checklist

- forward planning sign-off sheets.

## DIRECT OBSERVATIONS

A requirement of this qualification is that you are observed on a minimum of two occasions to complete Unit 102, Apply health, safety and environmental considerations. However, it is very unlikely that you will be observed just on health and safety; you will be carrying out tasks that will meet performance criteria across other performance units.

A good approach to observation of performance criteria would be to carry out on-site    observations at various intervals. As a guide, appropriate intervals would be at first fix, second fix and at inspection and test stage, picking up the requirements for health and safety holistically as part of the visits.

### You will find the direct observation documents, for recording any other performance criteria that are observed, in the appendix of this workplace logbook.

8	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## THE BRIEF

This unit is designed to enable learners to develop the skills and apply the relevant knowledge associated with health and safety legislation, practices and procedures when installing and maintaining electrical systems and equipment.

## GUIDANCE

The performance criteria in this unit will be met using evidence from workplace opportunities. Evidence will come from the candidate carrying out tasks in the workplace. The assessor will carry out direct observation, questioning and professional discussion. Supplementary evidence by the candidate will be required to cover the required ranges.

## EVIDENCE GUIDE

Evidence must be provided on a minimum of two separate occasions. The supplied observation, professional discussion records and supplementary evidence cover all criteria required: LO 1, LO 2, LO 3, LO 4.

Direct observation is required for the tasks documented on two occasions.

If a minimal amount of criteria is not achieved on the direct observation record, then oral questioning and professional discussion can be used on the document provided.

Equivalent employer supplementary evidence documents can be provided, but these must be completed by the candidate in relation to workplace activity.

## FORMS TO BE COMPLETED IN THIS UNIT

### By candidates

Supplementary evidence forms including:

- risk assessment

- photographs

- method statement.

### By assessors

- checklists

- direct observation forms

- feedback and forward planning sign-off sheet.

## MINIMUM SUPPLEMENTARY EVIDENCE REQUIRED

Three from the supplementary evidence list provided:

- relevant photographs

- risk assessment

- method statement.

## BEHAVIOURS

B1, B2, B4, B5, B6, B7, B8

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	9

## CHECKLIST

LEARNING OUTCOME 1

### Apply relevant health and safety legislation in the workplace

| Indicate assessment method (AM) when complete DO – PE – RA – PD – WT – OQ – WQ – JR. Indicate job number JobN, where the evidence relates. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Assessment criteria description | JobN | AM | JobN | AM |
| - Identify which workplace health and safety procedures are relevant to the working environment, and comply with their duties and obligations as defined by current legislation and organisational procedures - Produce a risk assessment and method statement in accordance with organisational procedures for a given work activity - Work within the requirements of: - risk assessments - method statements - safe systems of work |  |  |  |  |

LEARNING OUTCOME 2

Assess the work environment for hazards and identify remedial actions in accordance with health and safety legislation

| Indicate assessment method (AM) when complete DO – PE – RA – PD – WT – OQ – WQ – JR. Indicate job number JobN, where the evidence relates. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Assessment criteria description | JobN | AM | JobN | AM |
| - Identify unsafe situations and conditions and take remedial actions - Assess the work environment and revise work practices accordingly to take into account hazards which could cause harm, including the handling of potentially hazardous: - materials - tools - equipment - Identify any hazards which may present a high risk and report their presence to relevant persons who have overall responsibility for health and safety in the workplace - Apply measures to control health and safety hazards - Select and use correct personal protective equipment |  |  |  |  |

Continued

10	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

CHECKLIST (CONTINUED)

## LEARNING OUTCOME 3

### Apply methods and procedures to ensure work on site is in accordance with health and safety legislation

| Indicate assessment method (AM) when complete DO – PE – RA – PD – WT – OQ – WQ – JR. Indicate job number JobN, where the evidence relates. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Assessment criteria description | JobN | AM | JobN | AM |
| - Demonstrate a level of personal conduct and behaviour within the workplace, to ensure that the health and safety of themselves and others is not endangered - Apply procedures to ensure the safe use, maintenance and storage of tools, plant and equipment as stipulated in: - workplace policies (company and site) - supplier information - manufacturers’ instructions - Comply with information, warning, mandatory instruction and prohibition notices - Apply procedures to ensure the safety of the work location through the correct use of guards, barriers and notices - Use access equipment correctly: - ladder - tower scaffold or MEWP - stepladder - platform |  |  |  |  |

LEARNING OUTCOME 4

Work in accordance with environmental legislation for electrical services

| Indicate assessment method (AM) when complete DO – PE – RA – PD – WT – OQ – WQ – JR. Indicate job number JobN, where the evidence relates. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Assessment criteria description | JobN | AM | JobN | AM |
| 1 Demonstrate appropriate procedures for the safe handling, storage and disposal of hazardous materials and products, in accordance with one of the following: - Environmental Protection Act (1990) - The Hazardous Waste Regulations (2005) - Pollution Prevention and Control Act (1999) - Control of Pollution Act (1974) - Control of Noise at Work Regulations (2005) - Environment Act (1995) |  |  |  |  |

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	11

## ASSESSOR DIRECT OBSERVATION JOB 1

Job location and address

Job description

| Be able to apply relevant health and safety legislation in the workplace LO 1.1/1.2/1.3 | Achieved |
| --- | --- |
| Demonstrate the appropriate use of personal protective equipment (PPE) Identify the location of a suitable first aid kit and nominated person Demonstrate methods of recording accidents Conduct yourself properly around others in the workplace Identify the location of the nearest fire point or fire extinguisher Demonstrate an awareness of the fire safety procedure Demonstrate an awareness of the emergency evacuation procedure Demonstrate an awareness of the site or company induction process Demonstrate precautionary actions with regards to personal hygiene Source and confirm location of safety documentation Demonstrate methods of reporting potential hazards Work to procedures laid down in risk assessments and method statements |  |

Continued

12	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

| Use risk assessments to identify safe methods of working at height | Achieved |
| --- | --- |
| Work to procedures laid down in risk assessments or method statements when working at height Identify potential hazards when working at height Safety check and select the appropriate access equipment |  |
| Perform the safe use of access equipment (two of the four items in the range listed below required across jobs 1 and 2) | Achieved |
| Ladder Tower scaffold or MEWP Stepladder Platform |  |
| Carry out safety checks and procedures within the work location | Achieved |
| Provide evidence of a tidy work area Provide evidence of adequate lighting in the work area Provide evidence of protecting customer’s property Verify suitable access and exit routes to and from the work location Follow safety signs and notices Store tools and equipment appropriately Demonstrate safe transportation and use of tools and equipment Demonstrate safe manual handling lifting techniques |  |

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	13

Professional discussion record (confirmation of evidence)

Feedback and forward planning

Candidate name

Assessor name

IQA name

Candidate signature

Date

Assessor signature

Date

IQA signature (as required)

Date

14	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## ASSESSOR DIRECT OBSERVATION JOB 2

Job location and address

Job description

| Be able to apply relevant health and safety legislation in the workplace LO 1.1/1.2/1.3 | Achieved |
| --- | --- |
| Demonstrate the appropriate use of personal protective equipment (PPE) Identify the location of a suitable first aid kit and nominated person Demonstrate methods of recording accidents Conduct yourself properly around others in the workplace Identify the location of the nearest fire point or fire extinguisher Demonstrate an awareness of the fire safety procedure Demonstrate an awareness of the emergency evacuation procedure Demonstrate an awareness of the site or company induction process Demonstrate precautionary actions with regards to personal hygiene Source and confirm location of safety documentation Demonstrate methods of reporting potential hazards Work to procedures laid down in risk assessments and method statements |  |

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	15

| Use risk assessments to identify safe methods of working at height | Achieved |
| --- | --- |
| Work to procedures laid down in risk assessments or method statements when working at height Identify potential hazards when working at height Safety check and select the appropriate access equipment |  |
| Perform the safe use of access equipment (two of the three items in the range listed below required across jobs 1 and 2) | Achieved |
| Ladder Tower scaffold or MEWP Stepladder Platform |  |
| Carry out safety checks and procedures within the work location | Achieved |
| Provide evidence of a tidy work area Provide evidence of adequate lighting in the work area Provide evidence of protecting customer’s property Verify suitable access and exit routes to and from the work location Follow safety signs and notices Store tools and equipment appropriately Demonstrate safe transportation and use of tools and equipment Demonstrate safe manual handling lifting techniques |  |

Continued

16	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

Professional discussion record (confirmation of evidence)

Feedback and forward planning

Candidate name

Assessor name

IQA name

Candidate signature

Date

Assessor signature

Date

IQA signature (as required)

Date

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	17

## SUPPLEMENTARY EVIDENCE: RISK ASSESSMENT

Supplementary evidence sheet reference no.

SE

RISK ASSESSMENT

|  | Hazard |
| --- | --- |
|  | Vibration Falling objects/debris Falling materials Slips and trips (uneven or poor floor surfaces) Manual handling operations Flying debris (shards, splinters) Work area layout/space cramped Obstructions (low beams, projections) Confined spaces Use of portable tools and equipment Use of fixed equipment (saw/lathe/drill) Cutting and burning equipment Mechanical lift equipment Forklift trucks/pallet trucks Stored energy Hyd/mech/pneu Noise Lone working |

|  | Hazard |
| --- | --- |
|  | Work at height Ladders Stepladders Tower scaffolding/MEWP Platform Hand tools COSHH Oil, greases, chemicals Lighting conditions Extreme weather outdoor conditions Fire, including electrical Contact with hot or cold surfaces Crush and trap entanglement Traffic Moving vehicles Flora/fauna Other workers Young people OTHERS (please specify) |

L

Incident likelihood

E

Total cumulative exposure

RISK CALCULATOR

Low/seldom/not forseeable	1	Less than 1 hour per shift	1

Medium (frequently)	5	Less than 4 hours per shift	5

S

Severity

P

Persons affected

High (near certainty)	10	More than 4 hours per shift	10

Slight (no treatment)	1	Single person	1

Minor (first aid and return to work)	5	All in immediate area (1 to 5)	5

Score 1–10 low risk

Score 11–50 medium risk

Score 51+ high risk

Major (lost time or incapacity)	10	All in the department (5 to 20)	10

Continued

18	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

RISK ASSESSMENT/IMPROVEMENT PLAN	LO 1/2/3/4

|  | Risk rating L x E x S x P = Score |  |  |  |  |  | Risk rating L x E x S x P = Score |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hazard description | L | E | S | P | Score | Improvement actions | L | E | S | P | Score |

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	19

Are appropriate procedures in place for the safe handling, storage and disposal of hazardous materials and products, in accordance with following:

|  | Environmental Protection Act (1990) The Hazardous Waste Regulations (2005) Pollution Prevention and Control Act (1999) |  | Control of Pollution Act (1974) Control of Noise at Work Regulations (2005) Environment Act (1995) |
| --- | --- | --- | --- |

Risk assessor name

Name

Name

Name

Name

Date

Date

Date

Date

Risk assessor signature

Date

Signature

Signature

Signature

Signature

Relevant people informed of findings:

20	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## SUPPLEMENTARY EVIDENCE: PHOTOGRAPHS

Access equipment	LO 3.3	Access equipment	LO 3.3

Description	Description

Date

Supplementary evidence ref.

Date	Supplementary evidence ref.

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	21

SUPPLEMENTARY EVIDENCE: PHOTOGRAPHS (CONTINUED)

PPE used	LO 2.5	Use of guards, notices, barriers	LO 3.4

Description	Description

Date

Supplementary evidence ref.

Date	Supplementary evidence ref.

22	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## SUPPLEMENTARY EVIDENCE: METHOD STATEMENT

Supplementary evidence sheet reference no.

SE

Project name and site address

Contractor name and contact details

Site manager name and contact details

Attendees on site

Description of the contract

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	23

| Sequence of work activity |  |
| --- | --- |
| Date: | Work activity: |
| Pre-start checks: |  |
| Deliveries and site access requirements: |  |
| Documentation passed to contractor or client representative: |  |
| Welfare facilities: |  |
| Hazards identified: |  |
| Work permits required: |  |
| PPE requirements: |  |
| First aid facilities: |  |

Continued

24	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

Tools and plant required

Method statement prepared by: Name

Method statement accepted by: Name

Signature

Date

Signature

Date

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	25

## FEEDBACK AND FORWARD PLANNING SIGN-OFF SHEET

| Product evidence included |  |  |  |  |  |  | Accepted |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Relevant photographs Risk assessment Method statement |  |  |  |  |  |  |  |
| Professional discussion record (confirmation of evidence) |  |  |  |  |  |  |  |
| Feedback and forward planning |  |  |  |  |  |  |  |
| Record of behaviours |  |  |  |  |  |  |  |
| B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 |

Candidate name

Assessor name

IQA name

Candidate signature

Date

Assessor signature

Date

IQA signature (as required)

Date

26	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## THE BRIEF

This unit is designed to enable learners to develop the skills required, and apply the associated knowledge, so that they can demonstrate  that  they  can  implement  practices  and  procedures for overseeing and organising the work environment  for  the  installation  of  electrical  systems and equipment. Candidates may need to be allocated a specific area of work to enable them to complete the required process. This may not be organising and overseeing the whole job or site, but a specific allocated area.

## GUIDANCE

The performance criteria in this unit will be met using evidence from the workplace. Supplementary product evidence templates can be sourced from the workplace or completed from this document.

## EVIDENCE GUIDE

Evidence must be provided on a minimum of two separate occasions.

Due to the nature of this unit, evidence will be primarily captured through direct observation and/  or completion of endorsed task records included in this pack. Please be aware that the templates provided will require completion if you do not use an equivalent type of evidence record in your normal work activities, ie employer documentation.

## FORMS TO BE COMPLETED IN THIS UNIT

### By candidates

- two candidate job records that include a programme of work activities and operations.

### By assessors

- checklists

- feedback and forward planning sign-off sheet.  Supplementary evidence should be inserted into the portfolio.

## MINIMUM SUPPLEMENTARY EVIDENCE REQUIRED

Two from the following:

- delivery note

- variation order

- written quotation

- material/plant order documentation.

## BEHAVIOURS

B1, B2, B3, B4, B5, B6, B7, B8

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	27

## CHECKLIST

LEARNING OBJECTIVE 1

### Be able to provide relevant people with technical and functional information for work on electrical systems and equipment

| Indicate assessment method (AM) when complete DO – PE – RA – PD – WT – OQ – WQ – JR. Indicate job number JobN, where the evidence relates. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Assessment criteria description | JobN | AM | JobN | AM |
| - Liaise with relevant people to evaluate the information they require to ensure that systems, equipment or components can be operated safely and effectively - Identify appropriate technical and functional information that is required for the work activity - Provide information in a timely, courteous, suitable and professional manner in accordance with organisational procedures and engineering standards |  |  |  |  |

LEARNING OBJECTIVE 2

Be able to oversee health and safety during work on electrical systems and equipment

| Indicate assessment method (AM) when complete DO – PE – RA – PD – WT – OQ – WQ – JR. Indicate job number JobN, where the evidence relates. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Assessment criteria description | JobN | AM | JobN | AM |
| - Produce, or revise generic, risk assessments and method statements, to cover their own work and others working the area (colleagues and other operatives) in accordance with their level of responsibility - Implement suitable procedures to confirm that work is being completed in accordance with health and safety legislation and industry standards |  |  |  |  |

Continued

28	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## LEARNING OBJECTIVE 3

### Be able to co-ordinate liaison with other relevant persons during work activities

| Indicate assessment method (AM) when complete DO – PE – RA – PD – WT – OQ – WQ – JR. Indicate job number JobN, where the evidence relates. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Assessment criteria description | JobN | AM | JobN | AM |
| - Select effective procedures to ensure co-ordination with other workers/contractors, including steps to resolve issues which are outside the scope of their job role - Evaluate and apply communication techniques that are clear, accurate and appropriate to the situation - Demonstrate working effectively with colleagues to enhance performance (such as undertaking work to one’s best ability, being a good employee/worker, co-operating with the employer and/or customer during work activities) |  |  |  |  |

LEARNING OBJECTIVE 4

Be able to organise and oversee work activities and operations

| Indicate assessment method (AM) when complete DO – PE – RA – PD – WT – OQ – WQ – JR. Indicate job number JobN, where the evidence relates. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Assessment criteria description | JobN | AM | JobN | AM |
| - Organise operatives by allocating duties and responsibilities to make the best use of their competence and skills - Monitor the work of operatives to ensure it is in accordance with: - industry working practices - programme of work - health and safety requirements - cost effectiveness - environmental considerations - Evaluate and apply appropriate procedures to correct issues that arise during work activities |  |  |  |  |

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	29

## LEARNING OBJECTIVE 5

### Be able to organise a programme for working on electrical systems and equipment

| Indicate assessment method (AM) when complete DO – PE – RA – PD – WT – OQ – WQ – JR. Indicate job number JobN, where the evidence relates. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Assessment criteria description | JobN | AM | JobN | AM |
| - Produce a simple programme of work from the work specification, including requirements for the following: - estimate of the amount of time required for completion of the work - liaison with other trades where necessary - Communicate with others clearly and concisely - Assess situations when it is necessary to liaise with other relevant parties to resolve issues |  |  |  |  |

LEARNING OBJECTIVE 6

Be able to organise the resource requirements for work on electrical systems and equipment

| Indicate assessment method (AM) when complete DO – PE – RA – PD – WT – OQ – WQ – JR. Indicate job number JobN, where the evidence relates. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Assessment criteria description | JobN | AM | JobN | AM |
| - Organise provision of resources: - materials - fixings - plant - labour - tools - Confirm that materials available are: - the right type - fit for purpose - in the correct quantity - suitable for work to be completed cost efficiently - Ensure that resources are undamaged at the point of delivery - Demonstrate effective measures which ensure the safe and effective storage of materials, tools and equipment in the work location |  |  |  |  |

30	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## CANDIDATE JOB RECORD JOB 1

Job address

H&S checks

Risk assessment Procedures

Method statement

| Persons liaised with when gathering/providing information LO 1.1 |  |  |  |
| --- | --- | --- | --- |
|  | Client |  | Estimator |
|  | Architect |  | Project manager |
|  | Design engineer |  | Contracts manager |
|  | Quantity surveyor |  | Subcontractor/other trades |
|  | Clerk of works |  | Site supervisor |
|  | Structural engineer |  | Supervisor/foreman |

| Technical information and functional information utilised LO 1.2 |  |  |  |
| --- | --- | --- | --- |
|  | Specifications |  | Component positional reference systems |
|  | British Standards Institute (BSI) |  | Circuit diagrams |
|  | BSEN Harmonised Standards |  | Wiring diagrams |
|  | Codes of practice |  | Block diagrams |
|  | Libraries (eg IET) |  | Location/layout drawings |
|  | Manufacturers’ catalogues, manuals |  | Assembly and detail drawings |
|  | Reports |  | Variation order |
|  | Critical path analysis |  | Day worksheets |
|  | Job sheets |  | Time sheets |
|  | Site plans |  | Delivery notes |
|  | Data sheets and wall charts |  | Other: please specify below |

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	31

Outline of discussions and technical information required for relevant personnel LO 1.3

Continued

32	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

Which trades will need to be liaised with during work activities?	LO 5.1/5.2/5.3

|  | Bricklayer |  | Plumber |
| --- | --- | --- | --- |
|  | Joiner |  | Decorator |
|  | Tiler |  | Ground worker |
|  | Plasterer |  | HV fitter |
|  | Electrician |  | Gas fitter |
|  | RAC engineer |  | Other |
| Outline of topics and dates |  |  |  |

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	33

Outline of communication and dates

Newspapers Bulletins

Handbills

What forms of communication will be utilised to maintain effective team working relationships?

LO 3.1/3.2/3.3/5.2/5.3

Media	3. Verbal

Face to face (meetings) Tool box talks

Phone

Magazines	4. Written materials

Social media	Specification

### Notice boards

  - Models and samples

  - Technology Email Internet

### 2. Drawn and visual materials

Drawings

Programmes and charts Photographs

Schedules Reports Letters Fax

Continued

34	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

Programme of work activities  and operations	LO 2.1/5.1/5.2/5.3

Core details of work programme

| Start date: |  | End date: Start time: | Number of days/weeks: |
| --- | --- | --- | --- |
| Working hours: |  |  | Finishing time: |
| Works description: |  |  |  |
| Trades on site |  |  |  |
|  | Bricklayer Joiner Tiler Plasterer Electrician Plumber Decorator Ground worker HV fitter Gas fitter Others | Start date: Start date: Start date: Start date: Start date: Start date: Start date: Start date: Start date: Start date: Start date: | Finish date: |
|  |  |  | Finish date: |
|  |  |  | Finish date: |
|  |  |  | Finish date: |
|  |  |  | Finish date: |
|  |  |  | Finish date: |
|  |  |  | Finish date: |
|  |  |  | Finish date: |
|  |  |  | Finish date: |
|  |  |  | Finish date: |
|  |  |  | Finish date: |

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	35

| Electrical work programme LO 6.1 |  |  |
| --- | --- | --- |
| Week beginning/date: | Labour/resource requirements: | Task description (eg first fix): |

Continued

36	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

Programme of work activities  and operations	LO 2.1/5.1/5.2/5.3

Core details of work programme (continued)

| Week beginning/date: | Specialist tools and plant required on site: |
| --- | --- |

Client name

Candidate name

Expert witness name

Assessor name

Date

Date

Date

Date

Client signature (if available)

Candidate signature

Expert witness signature

Assessor signature

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	37

## CANDIDATE JOB RECORD JOB 2

Job address

H&S checks

Risk assessment Procedures

Method statement

| Persons liaised with when gathering/providing information LO 1.1 |  |  |  |
| --- | --- | --- | --- |
|  | Client |  | Estimator |
|  | Architect |  | Project manager |
|  | Design engineer |  | Contracts manager |
|  | Quantity surveyor |  | Subcontractor/other trades |
|  | Clerk of works |  | Site supervisor |
|  | Structural engineer |  | Supervisor/foreman |

| Technical information and functional information utilised LO 1.2 |  |  |  |
| --- | --- | --- | --- |
|  | Specifications |  | Component positional reference systems |
|  | British Standards Institute (BSI) |  | Circuit diagrams |
|  | BSEN Harmonised Standards |  | Wiring diagrams |
|  | Codes of practice |  | Block diagrams |
|  | Libraries (eg IET) |  | Location/layout drawings |
|  | Manufacturers’ catalogues, manuals |  | Assembly and detail drawings |
|  | Reports |  | Variation order |
|  | Critical path analysis |  | Day worksheets |
|  | Job sheets |  | Time sheets |
|  | Site plans |  | Delivery notes |
|  | Data sheets and wall charts |  | Other: please specify below |

Continued

38	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

Outline of discussions and technical information required for relevant personnel LO 1.3

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	39

Which trades will need to be liaised with during work activities?	LO 5.1/5.2/5.3

|  | Bricklayer |  | Plumber |
| --- | --- | --- | --- |
|  | Joiner |  | Decorator |
|  | Tiler |  | Ground worker |
|  | Plasterer |  | HV fitter |
|  | Electrician |  | Gas fitter |
|  | RAC engineer |  | Other |
| Outline of topics and dates |  |  |  |

Continued

40	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

Outline of communication and dates

Newspapers Bulletins

Handbills

What forms of communication will be utilised to maintain effective team working relationships?

LO 3.1/3.2/3.3/5.2/5.3

Media	3. Verbal

Face to face (meetings) Tool box talks

Phone

Magazines	4. Written materials

Social media	Specification

### Notice boards

  - Models and samples

  - Technology Email Internet

### 2. Drawn and visual materials

Drawings

Programmes and charts Photographs

Schedules Reports Letters Fax

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	41

Programme of work activities  and operations	LO 2.1/5.1/5.2/5.3

Core details of work programme

| Start date: |  | End date: Start time: | Number of days/weeks: |
| --- | --- | --- | --- |
| Working hours: |  |  | Finishing time: |
| Works description: |  |  |  |
| Trades on site |  |  |  |
|  | Bricklayer Joiner Tiler Plasterer Electrician Plumber Decorator Ground worker HV fitter Gas fitter Others | Start date: Start date: Start date: Start date: Start date: Start date: Start date: Start date: Start date: Start date: Start date: | Finish date: |
|  |  |  | Finish date: |
|  |  |  | Finish date: |
|  |  |  | Finish date: |
|  |  |  | Finish date: |
|  |  |  | Finish date: |
|  |  |  | Finish date: |
|  |  |  | Finish date: |
|  |  |  | Finish date: |
|  |  |  | Finish date: |
|  |  |  | Finish date: |

Continued

42	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

| Electrical work programme LO 6.1 |  |  |
| --- | --- | --- |
| Week beginning/date: | Labour/resource requirements: | Task description (eg first fix): |

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	43

Programme of work activities  and operations	LO 2.1/5.1/5.2/5.3

Core details of work programme (continued)

| Week beginning/date: | Specialist tools and plant required on site: |
| --- | --- |

Client name

Candidate name

Expert witness name

Assessor name

Date

Date

Date

Date

Client signature (if available)

Candidate signature

Expert witness signature

Assessor signature

44	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## FEEDBACK AND FORWARD PLANNING SIGN-OFF SHEET

| Supplementary evidence (two of the following) |  |  |  |  |  |  | Accepted |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Delivery note |  |  |  |  |  |  |  |
| Variation order |  |  |  |  |  |  |  |
| Written quotation |  |  |  |  |  |  |  |
| Material/plant order documentation |  |  |  |  |  |  |  |
| Professional discussion record (confirmation of evidence) |  |  |  |  |  |  |  |
| Feedback and forward planning |  |  |  |  |  |  |  |
| Record of behaviours |  |  |  |  |  |  |  |
| B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 |

Candidate name

Assessor name

IQA name

Candidate signature

Date

Assessor signature

Date

IQA signature (as required)

Date

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	45

## THE BRIEF

This unit is designed to enable the candidate to demonstrate the practical skills and apply the associated knowledge required when terminating and connecting conductors and cables in electrical systems in accordance with approved industry practices, statutory and non-statutory regulations:

- Electricity at Work Regulations (1989)

- the current edition of BS 7671 Wiring Regulations

- The Health and Safety Act (1974)

- Building Regulations (2000)

## GUIDANCE

The performance criteria in this unit will be met using evidence from workplace opportunities. Evidence will come from you carrying out tasks in your workplace. You will need to provide job records and supplementary evidence to cover the required ranges.

## EVIDENCE GUIDE

Evidence must be provided on a minimum of two separate occasions.

Due to the nature of this unit, evidence will be primarily captured through direct observation and/  or completion of endorsed task records. Please be aware that the templates provided will require completion if you do not use an equivalent type of evidence record in your normal work activities,   ie employer documentation.

## FORMS TO BE COMPLETED IN THIS UNIT

### By candidates

- range/evidence tracker

- two candidate job records that include a programme of work activities and operations

- two supplementary evidence forms.

### By assessors

- checklists

- feedback and forward planning sign-off sheet.

## MINIMUM SUPPLEMENTARY EVIDENCE REQUIRED

- photographic evidence for each of the range items claimed.

## BEHAVIOURS

B1, B2, B3, B4, B5, B6, B7, B8

46	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## CHECKLIST

LEARNING OBJECTIVE 1

### Prepare to terminate and connect cables and conductors

| Indicate assessment method (AM) when complete DO – PE – RA – PD – WT – OQ – WQ – JR. Indicate job number JobN, where the evidence relates. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Assessment criteria description | JobN | AM | JobN | AM |
| - Evaluate and apply appropriate procedures to include: - selecting appropriate tools/equipment to enable termination and connection - adopting appropriate PPE - following a safe system of work (eg risk assessment, method statement, permit to work procedure) - Assess and confirm it is safe to complete termination and connection in terms of: - checking for presence of supply/carrying out safe isolation - mechanical soundness of the electrical equipment to be connected to - checking for unsafe situations |  |  |  |  |

LEARNING OBJECTIVE 2

Terminate and connect conductors and cables

| Indicate assessment method (AM) when complete DO – PE – RA – PD – WT – OQ – WQ – JR. Indicate job number JobN, where the evidence relates. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Assessment criteria description | JobN | AM | JobN | AM |
| - Terminate and connect cables and conductors in accordance with manufacturers’ instructions, BS 7671, and any relevant drawing or specification - Connect to electrical equipment in accordance with manufacturers’ instructions, BS 7671, and any relevant drawing or specification - Terminate and connect conductors, using appropriate methods - Ensure that terminations and connections are electrically and mechanically sound (eg by simple inspecting and testing terminations) - Ensure cables have appropriate identification in accordance with BS 7671 |  |  |  |  |

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	47

## RANGE/EVIDENCE TRACKER

| Terminate and connect cables and conductors in accordance with manufacturers’ instructions, wiring regulations and any relevant drawing or specification (Assess a minimum of four from the following) |  |  | Connect to electrical equipment in accordance with manufacturers’ instructions, wiring regulations and any relevant drawing or specification (Assess minimum of five from the following) |  |  |
| --- | --- | --- | --- | --- | --- |
| Indicate the job number in which the range was met and reference the supplementary evidence. |  |  | Indicate the job number in which the range was met and reference the supplementary evidence. |  |  |
| Range LO 2.1 | Job | SE ref | Range LO 2.2 | Job | SE ref |
| Single core (singles) Multicore insulated PVC – PVC flat profile cable MICC Fire performance SWA cable GSWB galvanised steel wire braid Data |  |  | Isolators/switches Socket outlets Distribution boards/consumer control units Luminaires Electric motors/motor control equipment Overcurrent protective devices Earthing terminals Control panels |  |  |
| Terminate and connect conductors using appropriate methods (Assess minimum of two from the following) |  |  | Data socket outlets or data connections Fire detection/alarm components |  |  |
| Indicate the job number in which the range was met and reference the supplementary evidence. |  |  | Other appropriate equipment (such as heating system components) |  |  |
| Range LO 2.3 | Job | SE ref |  |  |  |
| Screwing Crimping Soldering Non-screw compression Insulation displacement |  |  |  |  |  |
| For each termination assess: |  |  |  |  |  |
| Ensure that terminations and connections are electrically and mechanically sound Ensure cables have appropriate identification in accordance with the wiring regulations |  |  |  |  |  |

48	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## CANDIDATE JOB RECORD JOB 1

Job address

Job description

Tools and plant required LO 1.1

Core details of work programme:

- dates - timings - work areas

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	49

Health and safety checks – which of the following are to be implemented/followed during this job?

LO 1.1/1.2

|  | Safe isolation |  | Risk assessment |
| --- | --- | --- | --- |
|  | Permits to work |  | Checks to confirm mechanical soundness of equipment |
|  | Method statement |  | Checks to confirm suitability of equipment |
|  | Wearing correct and appropriate PPE |  | Procedures in place for the reporting of unsafe conditions |

| Cables and/or conductors to be installed LO 2.1 |  | Equipment to be installed LO 2.2 |  |
| --- | --- | --- | --- |
|  | Single core (singles) |  | Isolators/switches |
|  | Multicore insulated |  | Socket outlets |
|  | PVC – PVC flat profile cable |  | Distribution boards/consumer control units |
|  | MICC |  | Luminaires |
|  | Fire performance |  | Electric motors/motor control equipment |
|  | SWA cable |  | Overcurrent protective devices |
|  | Data |  | Earthing terminals |
|  | GSWB galvanised steel wire braid |  | Control panels |
|  |  |  | Data socket outlets or data connections |
|  |  |  | Fire detection/alarm components |

Continued

50	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

Screw

Crimped Soldered

Non-screw compression

Insulation displacement

Method of termination	LO 2.3

How are terminations checked for electrical/mechanical soundness in accordance with BS 7671?

Have terminations been visually inspected by an expert witness/competent person?	Yes	No

LO 2.4/2.5

Testing and commissioning

Cable identification methods

Identification sleeving Coloured insulation Cable numbering

Circuit charts within CCU Equipment labels

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	51

## SUPPLEMENTARY EVIDENCE: PHOTOGRAPHS

Cables and/or conductors installed	LO 2.1	Cables and/or conductors installed	LO 2.1

Description	Description

Date

Supplementary evidence ref.

Date	Supplementary evidence ref.

Continued

52	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

SUPPLEMENTARY EVIDENCE: PHOTOGRAPHS (CONTINUED)

Equipment installed

LO 2.2	Method of termination

LO 2.3

Description

Description

Date

Supplementary evidence ref.

Date

Supplementary evidence ref.

Client satisfaction verified

Yes No

Candidate name

Expert witness name

Assessor name

IQA name (where sampled)

Date

Date

Date

Date

Date

Client signature (if available)

Candidate signature

Expert witness signature

Assessor signature

IQA signature (where sampled)

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	53

## CANDIDATE JOB RECORD JOB 2

Job address

Job description

Tools and plant required LO 1.1

Core details of work programme:

- dates - timings - work areas

Continued

54	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

Health and safety checks – which of the following are to be implemented/followed during this job?

LO 1.1/1.2

|  | Safe isolation |  | Risk assessment |
| --- | --- | --- | --- |
|  | Permits to work |  | Checks to confirm mechanical soundness of equipment |
|  | Method statement |  | Checks to confirm suitability of equipment |
|  | Wearing correct and appropriate PPE |  | Procedures in place for the reporting of unsafe conditions |

| Cables and/or conductors to be terminated LO 2.1 |  | Equipment to be installed LO 2.2 |  |
| --- | --- | --- | --- |
|  | Single core (singles) |  | Isolators/switches |
|  | Multicore insulated |  | Socket outlets |
|  | PVC – PVC flat profile cable |  | Distribution boards/consumer control units |
|  | MICC |  | Luminaires |
|  | Fire performance |  | Electric motors/motor control equipment |
|  | SWA cable |  | Overcurrent protective devices |
|  | Data |  | Earthing terminals |
|  | GSWB galvanised steel wire braid |  | Control panels |
|  |  |  | Data socket outlets or data connections |
|  |  |  | Fire detection/alarm components |

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	55

Screw

Crimped Soldered

Non-screw compression

Insulation displacement

Method of termination	LO 2.3

How are terminations checked for electrical/mechanical soundness in accordance with BS 7671?

Have terminations been visually inspected by an expert witness/competent person?	Yes	No

LO 2.4/2.5

Testing and commissioning

Cable identification methods

Identification sleeving Coloured insulation Cable numbering

Circuit charts within CCU Equipment labels

56	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## SUPPLEMENTARY EVIDENCE: PHOTOGRAPHS

Cables and/or conductors installed	LO 2.1	Cables and/or conductors installed	LO 2.1

Description	Description

Date

Supplementary evidence ref.

Date	Supplementary evidence ref.

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	57

SUPPLEMENTARY EVIDENCE: PHOTOGRAPHS (CONTINUED)

Equipment installed

LO 2.2	Method of termination

LO 2.3

Description

Description

Date

Supplementary evidence ref.

Date

Supplementary evidence ref.

Client satisfaction verified

Yes No

Candidate name

Expert witness name

Assessor name

IQA name (where sampled)

Date

Date

Date

Date

Date

Client signature (if available)

Candidate signature

Expert witness signature

Assessor signature

IQA signature (where sampled)

58	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## FEEDBACK AND FORWARD PLANNING SIGN-OFF SHEET

| Supplementary evidence Photographic evidence for each of the range items required |  |  |  |  |  |  | Accepted |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Professional discussion record (confirmation of evidence) |  |  |  |  |  |  |  |
| Feedback and forward planning |  |  |  |  |  |  |  |
| Record of behaviours |  |  |  |  |  |  |  |
| B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 |

Candidate name

Assessor name

IQA name (where sampled)

Candidate signature

Date

Assessor signature

Date

IQA signature (where sampled)	Date

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	59

# AND PROCEDURES (OPTIONAL UNIT)

## THE BRIEF

This unit is designed to enable the learner to develop the skills required, and apply the associated knowledge, in order that they are able to demonstrate the competence required to plan, prepare and install wiring systems and associated equipment in buildings, structures and the environment    in accordance with approved industry practices, statutory and non-statutory regulations:

- Electricity at Work Regulations (1989)

- the current edition of BS 7671 Wiring Regulations

- Health and Safety at Work Act (1974)

- Building Regulations (2000)

## GUIDANCE

The performance criteria in this unit will be met using evidence from workplace opportunities. Evidence will come from you carrying out tasks in your workplace. You will need to provide a job record and supplementary evidence to cover the required ranges.

## EVIDENCE GUIDE

Evidence must be provided on a minimum of two separate occasions.

Due to the nature of this unit, evidence will be primarily captured through direct observation and/  or completion of endorsed task records. Please be aware that the templates provided will require completion if you do not use an equivalent type of evidence record in your normal work activities,   ie employer documentation.

## FORMS TO BE COMPLETED IN THIS UNIT

### By candidates

- range/evidence tracker

- two candidate job records

- two supplementary evidence forms.

### By assessors

- checklists

- feedback and forward planning sign-off sheet.

## MINIMUM SUPPLEMENTARY EVIDENCE REQUIRED

Photographic evidence to come from the following ranged topics:

- x4 wiring systems to be installed

- x4 cables and/or conductors to be installed

- x4 different types of equipment to be installed.

## BEHAVIOURS

B1, B2, B3, B4, B5, B6, B7, B8

60	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## CHECKLIST

LEARNING OBJECTIVE 1

### Prepare to install wiring systems, enclosures and associated equipment

| Indicate assessment method (AM) when complete DO – PE – RA – PD – WT – OQ – WQ – JR. Indicate job number JobN, where the evidence relates. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Assessment criteria description | JobN | AM | JobN | AM |
| - Assess and apply appropriate procedures to include: - adopting appropriate PPE - following a safe system of work (eg working in accordance with a risk assessment and method statement) - selecting appropriate tools/equipment for the installation work - Prepare to install wiring systems, enclosures and associated equipment, to include: - confirm secure site storage facilities for tools, equipment, materials and components - select materials (equipment and components) in accordance with the installation specification - report any pre-work damage/defects to existing equipment or building features to the relevant person (such as customer/client, site/line manager) - confirm site readiness for installation work to begin - confirm authorisation for the installation work to start - Use documentation to confirm that materials and equipment is of the correct quantity and is free from damage - Ensure the planned locations for the wiring system and associated equipment are compatible with other building services (eg gas, water or other electrical services) - Check the planned locations for the wiring system in terms of: - cosmetic appearance - external influences |  |  |  |  |

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	61

## LEARNING OBJECTIVE 2

### Interpret appropriate information for the installation of wiring systems, enclosures and associated equipment

| Indicate assessment method (AM) when complete DO – PE – RA – PD – WT – OQ – WQ – JR. Indicate job number JobN, where the evidence relates. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Assessment criteria description | JobN | AM | JobN | AM |
| 1 Use sources of information to enable the installation of wiring systems, enclosures and associated equipment to be carried out including: - specifications - work schedules/programmes - manufacturers’ instructions - layout drawings other appropriate source of information (eg the wiring regulations, other plans or diagrams, ‘approved documents’, building regulations) |  |  |  |  |

LEARNING OBJECTIVE 3

Install wiring systems, and equipment in accordance with current relevant statutory and non-statutory regulations

| Indicate assessment method (AM) when complete DO – PE – RA – PD – WT – OQ – WQ – JR. Indicate job number JobN, where the evidence relates. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Assessment criteria description | JobN | AM | JobN | AM |
| - Use appropriate measuring and marking out techniques which are appropriate to the wiring system, wiring enclosure and/or associated equipment that is being installed - Install cables in accordance with the wiring regulations, the installation specification and programme of work - Install wiring systems in accordance with the wiring regulations, the installation specification and agreed planned programme of work - Install the types of electrical equipment and accessories, in accordance with the IET Wiring Regulations, the installation specification, manufacturers’ instructions and the programme of work - Communicate with others professionally and appropriately to aid the effective installation of the wiring system/equipment - Dispose of waste materials in accordance with site procedures and statutory requirements |  |  |  |  |

Continued

62	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## LEARNING OBJECTIVE 4

### Confirm the quality of the completed work

| Indicate assessment method (AM) when complete DO – PE – RA – PD – WT – OQ – WQ – JR. Indicate job number JobN, where the evidence relates. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Assessment criteria description | JobN | AM | JobN | AM |
| 1 Ensure the installed wiring system(s) and enclosure(s) meet specified requirements |  |  |  |  |

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	63

## RANGE/EVIDENCE TRACKER

| Install cables in accordance with the wiring regulations, the installation specification and programme of work (Assess a minimum of four from the following) |  |  | Install the types of electrical equipment and accessories, in accordance with the IET Wiring Regulations, the installation specification, manufacturers’ instructions and the programme of work (Assess minimum of four from the following) |  |  |
| --- | --- | --- | --- | --- | --- |
| Indicate the job number in which the range was met and reference the supplementary evidence. |  |  | Indicate the job number in which the range was met and reference the supplementary evidence. |  |  |
| Range LO 3.2 | Job | SE ref | Range LO 3.4 | Job | SE ref |
| Single core (singles) |  |  | Isolators/switches |  |  |
| Multicore insulated |  |  | Socket outlets |  |  |
| PVC – PVC flat profile cable |  |  | Distribution boards/consumer |  |  |
|  |  |  | control units |  |  |
| MICC |  |  | Overcurrent protective devices |  |  |
| Fire performance |  |  | Luminaires |  |  |
| SWA cable |  |  | Data socket outlets or |  |  |
|  |  |  | data connections |  |  |
| GSWB galvanised |  |  | Other appropriate |  |  |
| steel wire braid |  |  |  |  |  |
| Data |  |  |  |  |  |
| Install wiring systems in accordance with the |  |  |  |  |  |
| wiring regulations, the installation specification |  |  |  |  |  |
| and agreed planned programme of work |  |  |  |  |  |
| (Assess minimum of four from the following) |  |  |  |  |  |
| Indicate the job number in which the range was met and reference the supplementary evidence. |  |  |  |  |  |
| Range LO 3.3 | Job | SE ref |  |  |  |
| PVC conduit |  |  |  |  |  |
| Metallic conduit |  |  |  |  |  |
| PVC trunking |  |  |  |  |  |
| Metallic trunking |  |  |  |  |  |
| Cable tray |  |  |  |  |  |
| Cable basket |  |  |  |  |  |
| Ladder system |  |  |  |  |  |
| Ducting |  |  |  |  |  |
| Modular wiring system |  |  |  |  |  |
| Busbar system or powertrack |  |  |  |  |  |

64	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## CANDIDATE JOB RECORD JOB 1

Job address

Job description

Tools and plant required LO 1.1

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	65

Customer signature

Date

Expert witness/competent person

signature

Date

Health and safety/customer checks	LO 1.1/1.2/1.3/1.4/1.5

|  | Safe isolation Permits to work |  | Checks to confirm planned locations for wiring systems in terms of - cosmetic appearance - external influences Check to confirm equipment complies with specification |
| --- | --- | --- | --- |
|  | Method statement |  | Checks to confirm compatibility of wiring system/equipment with other services Any pre-work damage/defects to existing equipment or building features identified and reported Suitable storage arrangements in place Checks to confirm materials and equipment are of the correct quantity and are undamaged |
|  | Wearing correct and appropriate PPE |  |  |
|  | Risk assessment Warning notices and barriers in place |  |  |

Site ready for works to begin

Authorisation for work to begin confirmed

Customer name

Expert witness/competent person name

Continued

66	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

| Describe what measuring and marking out techniques are to be used during the installation LO3.1 |  |  |  |
| --- | --- | --- | --- |
| Materials list – cable, conductors and equipment |  |  |  |
| Sources of information utilised to enable installation works LO 2.1 |  | Wiring systems to be installed LO 3.3 |  |
|  | Specifications Work schedules/programmes Manufacturers’ instructions Layout drawings Other appropriate source of information (eg the Wiring Regulations, other plans or diagrams, ‘approved documents’, building regulations) |  | PVC conduit Metallic conduit PVC trunking Metallic trunking Cable tray Cable basket Ladder system Ducting Modular wiring system Busbar system or powertrack |
| Cables and/or conductors to be installed LO 3.2 |  | Equipment to be installed LO 3.4 |  |
|  | Single core (singles) Multicore insulated PVC – PVC flat profile cable MICC Fire performance SWA cable Data |  | Isolators/switches Socket outlets Distribution boards/consumer control units Overcurrent protective devices Luminaires Data socket outlets or data connections Other appropriate |

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	67

State methods of communication utilised between other trades and professionals during this installation LO 3.5

Describe how, in accordance with site procedures and statutory requirements, waste has been disposed of LO 3.6

| Quality check: installed wiring system(s) and enclosure(s) LO 4.1 |  |  |  |
| --- | --- | --- | --- |
|  | Are the correct type and fit for purpose Are installed in accordance with the Wiring Regulations (BS 7671) |  | Meet the installation specification/other relevant plans/instructions Are installed in accordance with any relevant manufacturers’ instructions |

68	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## SUPPLEMENTARY EVIDENCE: PHOTOGRAPHS

Cables and/or conductors installed	LO 3.2	Cables and/or conductors installed	LO 3.2

Description	Description

Date

Supplementary evidence ref.

Date	Supplementary evidence ref.

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	69

SUPPLEMENTARY EVIDENCE: PHOTOGRAPHS (CONTINUED)

Cables and/or conductors installed	LO 3.2	Cables and/or conductors installed	LO 3.2

Description	Description

Date

Supplementary evidence ref.

Date	Supplementary evidence ref.

Continued

70	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

SUPPLEMENTARY EVIDENCE: PHOTOGRAPHS (CONTINUED)

Wiring system	LO 3.3	Wiring system	LO 3.3

Description	Description

Date

Supplementary evidence ref.

Date	Supplementary evidence ref.

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	71

SUPPLEMENTARY EVIDENCE: PHOTOGRAPHS (CONTINUED)

Wiring system	LO 3.3	Wiring system	LO 3.3

Description	Description

Date

Supplementary evidence ref.

Date	Supplementary evidence ref.

Continued

72	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

SUPPLEMENTARY EVIDENCE: PHOTOGRAPHS (CONTINUED)

Equipment installed	LO 3.4	Equipment installed	LO 3.4

Description	Description

Date

Supplementary evidence ref.

Date	Supplementary evidence ref.

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	73

SUPPLEMENTARY EVIDENCE: PHOTOGRAPHS (CONTINUED)

Equipment installed

LO 3.4	Equipment installed

LO 3.4

Description

Description

Date

Supplementary evidence ref.

Date

Supplementary evidence ref.

Client satisfaction verified

Yes No

Candidate name

Expert witness name

Assessor name

IQA name (where sampled)

Date

Date

Date

Date

Date

Client signature (if available)

Candidate signature

Expert witness signature

Assessor signature

IQA signature (where sampled)

74	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## CANDIDATE JOB RECORD JOB 2

Job address

Job description

Tools and plant required LO 1.1

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	75

Customer signature

Date

Expert witness/competent person

signature

Date

Health and safety/customer checks	LO 1.1/1.2/1.3/1.4/1.5

|  | Safe isolation Permits to work |  | Checks to confirm planned locations for wiring systems in terms of - cosmetic appearance - external influences Checks to confirm equipment complies with specification |
| --- | --- | --- | --- |
|  | Method statement |  | Checks to confirm compatibility of wiring system/equipment with other services Any pre-work damage/defects to existing equipment or building features identified and reported Suitable storage arrangements in place Checks to confirm materials and equipment are of the correct quantity and are undamaged |
|  | Wearing correct and appropriate PPE |  |  |
|  | Risk assessment Warning notices and barriers in place |  |  |

Site ready for works to begin

Authorisation for work to begin confirmed

Customer name

Expert witness/competent person name

Continued

76	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

| Describe what measuring and marking out techniques are to be used during the installation LO3.1 |  |  |  |
| --- | --- | --- | --- |
| Materials list – cable, conductors and equipment |  |  |  |
| Sources of information utilised to enable installation works LO 2.1 |  | Wiring systems to be installed LO 3.3 |  |
|  | Specifications Work schedules/programmes Manufacturers’ instructions Layout drawings Other appropriate source of information (eg the Wiring Regulations, other plans or diagrams, ‘approved documents’, building regulations) |  | PVC conduit Metallic conduit PVC trunking Metallic trunking Cable tray Cable basket Ladder system Ducting Modular wiring system Busbar system or powertrack |
| Cables and/or conductors to be installed LO 3.2 |  | Equipment to be installed LO 3.4 |  |
|  | Single core (singles) Multicore insulated PVC – PVC flat profile cable MICC Fire performance SWA cable Data |  | Isolators/switches Socket outlets Distribution boards/consumer control units Overcurrent protective devices Luminaires Data socket outlets or data connections Other appropriate |

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	77

State methods of communication utilised between other trades and professionals during this installation LO 3.5

Describe how, in accordance with site procedures and statutory requirements, waste has been disposed of LO 3.6

| Quality check: installed wiring system(s) and enclosure(s) LO 4.1 |  |  |  |
| --- | --- | --- | --- |
|  | Are the correct type and fit for purpose Are installed in accordance with the Wiring Regulations (BS 7671) |  | Meet the installation specification/other relevant plans/instructions Are installed in accordance with any relevant manufacturers’ instructions |

78	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## SUPPLEMENTARY EVIDENCE: PHOTOGRAPHS

Cables and/or conductors installed	LO 3.2	Cables and/or conductors installed	LO 3.2

Description	Description

Date

Supplementary evidence ref.

Date	Supplementary evidence ref.

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	79

SUPPLEMENTARY EVIDENCE: PHOTOGRAPHS (CONTINUED)

Cables and/or conductors installed	LO 3.2	Cables and/or conductors installed	LO 3.2

Description	Description

Date

Supplementary evidence ref.

Date	Supplementary evidence ref.

Continued

80	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

SUPPLEMENTARY EVIDENCE: PHOTOGRAPHS (CONTINUED)

Wiring system	LO 3.3	Wiring system	LO 3.3

Description	Description

Date

Supplementary evidence ref.

Date	Supplementary evidence ref.

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	81

SUPPLEMENTARY EVIDENCE: PHOTOGRAPHS (CONTINUED)

Wiring system	LO 3.3	Wiring system	LO 3.3

Description	Description

Date

Supplementary evidence ref.

Date	Supplementary evidence ref.

Continued

82	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

SUPPLEMENTARY EVIDENCE: PHOTOGRAPHS (CONTINUED)

Equipment installed	LO 3.4	Equipment installed	LO 3.4

Description	Description

Date

Supplementary evidence ref.

Date	Supplementary evidence ref.

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	83

SUPPLEMENTARY EVIDENCE: PHOTOGRAPHS (CONTINUED)

Equipment installed

LO 3.4	Equipment installed

LO 3.4

Description

Description

Date

Supplementary evidence ref.

Date

Supplementary evidence ref.

Client satisfaction verified

Yes No

Candidate name

Expert witness name

Assessor name

IQA name (where sampled)

Date

Date

Date

Date

Date

Client signature (if available)

Candidate signature

Expert witness signature

Assessor signature

IQA signature (where sampled)

84	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## FEEDBACK AND FORWARD PLANNING SIGN-OFF SHEET

| Supplementary evidence Supplementary evidence for each of the range items required |  |  |  |  |  |  | Accepted |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Professional discussion record (confirmation of evidence) |  |  |  |  |  |  |  |
| Feedback and forward planning |  |  |  |  |  |  |  |
| Record of behaviours |  |  |  |  |  |  |  |
| B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 |

Candidate name

Assessor name

IQA name (where sampled)

Candidate signature

Date

Assessor signature

Date

IQA signature (where sampled)	Date

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	85

## THE BRIEF

This unit is designed to enable the learner to develop the skills required, and apply the associated knowledge, in order that they are able to demonstrate the competence required to maintain electrical systems and equipment in accordance with approved industry practices, statutory and non-statutory regulations:

- Electricity at Work Regulations (1989)

- the current edition of BS 7671 Wiring Regulations

- Health and Safety Act (1974)

- Building Regulations (2000)

## GUIDANCE

The performance criteria in this unit will be met using evidence from workplace opportunities. Evidence will come from you carrying out tasks in your workplace. You will need to provide a job record and supplementary evidence to cover the required ranges.

## EVIDENCE GUIDE

Evidence must be provided on a minimum of two separate occasions.

Due to the nature of this unit, evidence will be primarily captured through direct observation and/  or completion of endorsed task records. Please be aware that the templates provided will require completion if you do not use an equivalent type of evidence record in your normal work activities,   ie employer documentation.

## FORMS TO BE COMPLETED IN THIS UNIT

### By candidates

- range/evidence tracker

- two candidate job records

- supplementary evidence forms.

### By assessors

- checklists

- feedback and forward planning sign-off sheet.

## MINIMUM SUPPLEMENTARY EVIDENCE REQUIRED

- photographic evidence (copies of each of the range items claimed)

- copies of method statements x 2.

## BEHAVIOURS

B1, B2, B3, B4, B5, B6, B8

86	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## CHECKLIST

LEARNING OBJECTIVE 1

### Prepare to carry out electrical maintenance

| Indicate assessment method (AM) when complete DO – PE – RA – PD – WT – OQ – WQ – JR. Indicate job number JobN, where the evidence relates. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Assessment criteria description | JobN | AM | JobN | AM |
| - Produce a maintenance work plan following best practice procedures to include: - analysing the requirements of task (based on technical and engineering principles and know-how) - planned shut downs/isolations - health and safety precautions (eg provision for release of stored and latent energy) - permits to work - organising tools, equipment and spare parts - liaison with/co-ordination of work with other persons will be necessary - time/cost effectiveness - a method statement (to include the appropriate best practice techniques/procedures/methods to undertake the maintenance activity) - Use appropriate methods to communicate the plan/or key aspects of the planned work to relevant people, such as other workers, colleagues and clients - Perform maintenance duties effectively as part of a team (such as with the employer, other workers, etc.) - Assess and apply appropriate preparation procedures to include: - adopting appropriate PPE - obtaining authorisation to carry out the maintenance work (such as a permit to work) - notifying relevant personnel of the maintenance work (other trades, users of equipment, etc.) - following risk assessments |  |  |  |  |

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	87

LEARNING OBJECTIVE 1 (CONTINUED)

### Prepare to carry out electrical maintenance

| Indicate assessment method (AM) when complete DO – PE – RA – PD – WT – OQ – WQ – JR. Indicate job number JobN, where the evidence relates. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Assessment criteria description | JobN | AM | JobN | AM |
| - Select appropriate tools and equipment for the maintenance work: - Hand tools/power tools - Following a safe system of work (eg working in accordance with a risk assessment and method statement) - Secure the work areas (fences, barriers, screens and warning signs) - Ensure relevant shutdown procedures are followed and safe isolation has been carried out (eg electrical systems/ pressurised systems (hydraulic/compressed air/water, gas)) - Assess and confirm secure storage facilities for tools, equipment, materials and components - Confirm that all appropriate job information is available for use - Verify that proposed materials/equipment/components are in accordance with: - industry requirements (best practice) - the type of installation, its use, and the environment in which it is installed - Ensure permission for the proposed work has been given (eg from the client) |  |  |  |  |

Continued

88	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## LEARNING OBJECTIVE 2

### Carry out electrical maintenance

| Indicate assessment method (AM) when complete DO – PE – RA – PD – WT – OQ – WQ – JR. Indicate job number JobN, where the evidence relates. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Assessment criteria description | JobN | AM | JobN | AM |
| - Interpret the maintenance schedule/specification to accurately identify and locate electrical systems and equipment that is to be worked upon - Use appropriate tools, equipment and materials for maintenance work - Apply best practice work procedures which are appropriate for the type of maintenance activity being undertaken (planned preventative, breakdown, monitored) - Apply best practice work procedures which are in accordance with: - manufacturers’ instructions - industry approved practices - maintenance schedules and specifications - Complete documented maintenance procedures on electrical circuits/systems - Complete documented maintenance procedures on electrical equipment - Monitor the effectiveness of the maintenance activity against current industry best practice and technical principles - Evaluate and apply the appropriate inspections, tests/ checks to verify the maintenance work has been carried out in accordance with requirements - Complete maintenance work in a professional manner: - within the timescale agreed by the person ordering the work - advising the relevant person(s) about any anticipated delays or about any further repairs that need to be carried out - Complete maintenance records accurately and submit them to the relevant person(s) - Evaluate the effectiveness of the maintenance activity against current industry best practice and technical principles - Make formal recommendations for the improvement of maintenance activities to the supervisor. |  |  |  |  |

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	89

## RANGE/EVIDENCE TRACKER

| Appropriate job information is available (Range requirement minimum of five to satisfy learning outcome) |  |  | Electrical circuits/systems of which documented maintenance procedures have been performed (Range requirement minimum of five to satisfy learning outcome) |  |  |
| --- | --- | --- | --- | --- | --- |
| Indicate the job number in which the range was met and reference the supplementary evidence. |  |  | Indicate the job number in which the range was met and reference the supplementary evidence. |  |  |
| Range LO 1.8 | Job | SE ref | Range LO 2.5 | Job | SE ref |
| Maintenance schedules/ specifications Maintenance programmes Drawings/diagrams Regulatory documents (eg current version of the IET Wiring Regulations) Method statements Servicing records Manufacturers’ instructions Certificates of competency Permits to work Other relevant information |  |  | Distribution systems Low-voltage circuits Extra-low-voltage circuits Lighting systems Heating and ventilating systems Air conditioning and refrigeration systems Drive systems Security systems Earthing systems Data communication/ networking systems |  |  |
|  |  |  | Other circuit/systems |  |  |

Continued

90	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

RANGE/EVIDENCE TRACKER (CONTINUED)

| Electrical equipment of which documented maintenance procedures have been performed (Range requirement minimum of five to satisfy learning outcome) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Indicate the job number in which the range was met and reference the supplementary evidence. |  |  |  |  |  |
| Range LO 2.6 | Job | SE ref | Range LO 2.6 | Job | SE ref |
| Electrical plant, components and accessories Motors Motor control equipment Switchgear/distribution panels Control systems/components |  |  | Contractors Power transmission mechanisms Luminaries/lamps Other relevant information |  |  |

| Complete maintenance work in a professional manner (Range requirement minimum of one to satisfy learning outcome) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Indicate the job number in which the range was met and reference the supplementary evidence. |  |  |  |  |  |
| Range LO 3.9 | Job | SE ref | Range LO 3.9 | Job | SE ref |
| Within the timescale agreed by the person ordering the work Advising the relevant person(s) about any anticipated delays or about any further repairs that need to be carried out |  |  | Other appropriate |  |  |

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	91

## CANDIDATE JOB RECORD JOB 1

| Core details of work programme: |  |  |
| --- | --- | --- |
| - dates - timings - work areas LO 1.1/1.2/3.1 |  |  |
| Maintenance analysis/requirements |  | LO 1.1/1.2/3.1 |
| Maintenance is cost effective Yes | No |  |

Permits to work

Method statement

Wearing correct and appropriate PPE

Safe isolation

LO 1.1/1.2/1.4/1.5/1.6/1.7/1.9/1.10

Health and safety/customer checks

LO 3.3

Type of maintenance

Tools, parts and plant required LO 1.1/1.2/1.8/3.2

Planned preventative Breakdown Monitored

Check to confirm notification of relevant personnel of maintenance works to

be performed

Suitable storage arrangements in place

Checks to confirm materials and equipment are of industry standards

Checks to confirm materials and equipment are suitable for the environment to which they are to be installed

Risk assessment

Work areas secured with warning notices and barriers in place

Appropriate co-ordination with other personnel confirmed

Area ready for works to begin

Customer name

Expert witness/competent person name

Customer signature

Expert witness/competent person signature

Continued

92	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

| Describe how maintenance duties will be performed effectively as part of a team LO 1.3 |  |  |  |
| --- | --- | --- | --- |
| Appropriate job information is available LO 1.8 |  | Tools and equipment required LO 1.5 |  |
|  | Maintenance schedules/specifications Maintenance programmes Drawings/diagrams Regulatory documents (eg current version of the IET Wiring Regulations) |  | Access equipment Calibrated test instruments together with leads to GS 38 (as appropriate). Positioning/lifting/jacking equipment Trolleys/hand-operated jacks |
|  | Method statements Servicing records Manufacturers’ instructions Certificates of competency Permits to work Other relevant information | Continued |  |
| All work procedures in accordance with LO 3.4 |  |  |  |
|  | Manufacturers’ instructions Industry approved practices Maintenance schedules and specifications |  |  |

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	93

Carry out electrical maintenance

| Electrical circuits/systems of which documented maintenance procedures have been performed LO 3.5 |  | Electrical equipment of which documented maintenance procedures have been performed LO 3.6 |  |
| --- | --- | --- | --- |
|  | Distribution systems |  | Electrical plant, components and accessories |
|  | Low-voltage circuits |  | Motors |
|  | Extra-low-voltage circuits |  | Motor control equipment |
|  | Lighting systems |  | Switchgear/distribution panels |
|  | Heating and ventilating systems |  | Control systems/components |
|  | Air conditioning and refrigeration systems |  | Contactors |
|  | Drive systems |  | Power transmission mechanisms |
|  | Security systems |  | Luminaries/lamps |
|  | Earthing systems |  | Other relevant equipment |
|  | Data communication/networking systems Other circuit/systems |  |  |
| Describe how the effectiveness of this maintenance activity will be monitored against current industry best practice and technical principles LO 3.7 |  |  |  |

Continued

94	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

Testing and commissioning	LO 3.8

|  | Tests Visual inspection Continuity of CPC Continuity of RFC Insulation resistance Polarity Earth fault loop impedance |  | Tests Prospective short circuit Earth rod Earth plate Lightning conductor Photovoltaic cells Functional tests |
| --- | --- | --- | --- |
|  | RCDs/RCBO tests Functional testing |  |  |
| Relevant paperwork completed LO 3.8/ 3.10 |  | Maintenance records/test results submitted to relevant people LO 3.10 |  |
|  | Electrical test certificates Schedules of inspections Schedules of test results Minor work certificate Condition report |  | Customers Clients Colleagues Other contractors Supervisors |
|  | Maintenance record Maintenance schedules updated Maintenance report |  |  |
| As part of the completed maintenance work, to maintain professionalism, the work was LO 3.9 |  |  |  |
|  | Completed within the timescale agreed |  | Completed with any anticipated delays being reported to the relevant person |
| Describe tests/checks carried out to verify maintenance work |  |  |  |

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	95

Evaluate the effectiveness of the maintenance activity against current industry best practice and technical principles LO 3.11

State your recommendations for the improvement of maintenance activities LO 3.12

Client satisfaction verified

Yes No

Candidate name

Expert witness name

Assessor name

IQA name (where sampled)

Date

Date

Date

Date

Date

Client signature (if available)

Candidate signature

Expert witness signature

Assessor signature

IQA signature (where sampled)

96	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## CANDIDATE JOB RECORD JOB 2

| Core details of work programme: |  |  |
| --- | --- | --- |
| - dates - timings - work areas LO 1.1/1.2/3.1 |  |  |
| Maintenance analysis/requirements |  | LO 1.1/1.2/3.1 |
| Maintenance is cost effective Yes | No |  |

Permits to work

Method statement

Wearing correct and appropriate PPE

Safe isolation

LO 1.1/1.2/1.4/1.5/1.6/1.7/1.9/1.10

Health and safety/customer checks

LO 3.3

Type of maintenance

Tools, parts and plant required LO 1.1/1.2/1.8/3.2

Planned preventative Breakdown Monitored

Check to confirm notification of relevant personnel of maintenance works to

be performed

Suitable storage arrangements in place

Checks to confirm materials and equipment are of industry standards

Checks to confirm materials and equipment are suitable for the environment to which they are to be installed

Risk assessment

Work areas secured with warning notices and barriers in place

Appropriate co-ordination with other personnel confirmed

Area ready for works to begin

Customer name

Expert witness/competent person name

Customer signature

Expert witness/competent person signature

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	97

| Describe how maintenance duties will be performed effectively as part of a team LO 1.3 |  |  |  |
| --- | --- | --- | --- |
| Appropriate job information is available LO 1.8 |  | Tools and equipment required LO 1.5 |  |
|  | Maintenance schedules/specifications Maintenance programmes Drawings/diagrams Regulatory documents (eg current version of the IET Wiring Regulations) |  | Access equipment Calibrated test instruments together with leads to GS 38 (as appropriate). Positioning/lifting/jacking equipment Trolleys/hand-operated jacks |
|  | Method statements Servicing records Manufacturers’ instructions Certificates of competency Permits to work Other relevant information | Continued |  |
| All work procedures in accordance with LO 3.4 |  |  |  |
|  | Manufacturers’ instructions Industry approved practices Maintenance schedules and specifications |  |  |

98	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

Carry out electrical maintenance

| Electrical circuits/systems of which documented maintenance procedures have been performed LO 3.5 |  | Electrical equipment of which documented maintenance procedures have been performed LO 3.6 |  |
| --- | --- | --- | --- |
|  | Distribution systems |  | Electrical plant, components and accessories |
|  | Low-voltage circuits |  | Motors |
|  | Extra-low-voltage circuits |  | Motor control equipment |
|  | Lighting systems |  | Switchgear/distribution panels |
|  | Heating and ventilating systems |  | Control systems/components |
|  | Air conditioning and refrigeration systems |  | Contactors |
|  | Drive systems |  | Power transmission mechanisms |
|  | Security systems |  | Luminaries/lamps |
|  | Earthing systems |  | Other relevant equipment |
|  | Data communication/networking systems Other circuit/systems |  |  |
| Describe how the effectiveness of this maintenance activity will be monitored against current industry best practice and technical principles LO 3.7 |  |  |  |

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	99

Testing and commissioning	LO 3.8

|  | Tests Visual inspection Continuity of CPC Continuity of RFC Insulation resistance Polarity Earth fault loop impedance |  | Tests Prospective short circuit Earth rod Earth plate Lightning conductor Photovoltaic cells Functional tests |
| --- | --- | --- | --- |
|  | RCDs/RCBO tests Functional testing |  |  |
| Relevant paperwork completed LO 3.8/ 3.10 |  | Maintenance records/test results submitted to relevant people LO 3.10 |  |
|  | Electrical test certificates Schedules of inspections Schedules of test results Minor work certificate Condition report |  | Customers Clients Colleagues Other contractors Supervisors |
|  | Maintenance record Maintenance schedules updated Maintenance report |  |  |
| As part of the completed maintenance work, to maintain professionalism, the work was LO 3.9 |  |  |  |
|  | Completed within the timescale agreed |  | Completed with any anticipated delays being reported to the relevant person |
| Describe tests/checks carried out to verify maintenance work |  |  |  |

Continued

100	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

Evaluate the effectiveness of the maintenance activity against current industry best practice and technical principles LO 3.11

State your recommendations for the improvement of maintenance activities LO 3.12

Client satisfaction verified

Yes No

Candidate name

Expert witness name

Assessor name

IQA name (where sampled)

Date

Date

Date

Date

Date

Client signature (if available)

Candidate signature

Expert witness signature

Assessor signature

IQA signature (where sampled)

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	101

## FEEDBACK AND FORWARD PLANNING SIGN-OFF SHEET

| Supplementary evidence |  |  |  |  |  |  | Accepted |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Photographic evidence including x2 Electrical circuits/systems and x2 for Electrical equipment for which you have completed documented maintenance procedures Copies of method statements x2 |  |  |  |  |  |  |  |
| Professional discussion record (confirmation of evidence) |  |  |  |  |  |  |  |
| Feedback and forward planning |  |  |  |  |  |  |  |
| Record of behaviours |  |  |  |  |  |  |  |
| B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 |

Candidate name

Assessor name

IQA name (where sampled)

Candidate signature

Date

Assessor signature

Date

IQA signature (where sampled)	Date

102	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## THE BRIEF

This unit is designed to enable the candidate to demonstrate the practical skills and apply the associated knowledge required when inspecting, testing, commissioning and certifying electrical systems and equipment in buildings, structures and the environment in accordance with approved industry practices, statutory and non-statutory regulations:

- The Electricity at Work Regulations (1989)

- the current edition of BS 7671 Wiring Regulations

- Health and Safety Act (1974)

- Building Regulations (2000)

## GUIDANCE

The performance criteria in this unit will be met using evidence from workplace opportunities. Evidence will come from you carrying out tasks in your workplace. You will need to provide a job record and supplementary evidence to cover the required ranges.

## EVIDENCE GUIDE

Evidence must be provided on a minimum of two separate occasions.

Due to the nature of this unit, evidence will be primarily captured through direct observation and/  or completion of endorsed task records. Please be aware that the templates provided will require completion if you do not use an equivalent type of evidence record in your normal work activities,   ie employer documentation.

## FORMS TO BE COMPLETED IN THIS UNIT

### By candidates

- range/evidence tracker

- two candidate job records

- supplementary evidence forms.

### By assessors

- checklists

- feedback and forward planning sign-off sheet.

## MINIMUM SUPPLEMENTARY EVIDENCE REQUIRED

- supporting evidence test sheets (copies of test certificates, schedules of inspections, schedules     of test results, minor works certificates).

## BEHAVIOURS

B1, B2, B3, B4, B5, B6, B8

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	103

## CHECKLIST

LEARNING OBJECTIVE 1

### Be able to confirm safety of the system and equipment prior to completion of inspection, testing and commissioning in accordance with statutory and non-statutory regulations

| Indicate assessment method (AM) when complete DO – PE – RA – PD – WT – OQ – WQ – JR. Indicate job number JobN, where the evidence relates. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Assessment criteria description | JobN | AM | JobN | AM |
| - Carry out safe isolation procedures in accordance with regulatory requirements for electrical installations - Ensure the health and safety of themselves and others within the work location during inspection, testing and commissioning - Check the safety of electrical systems prior to the commencement of inspection, testing and commissioning |  |  |  |  |

LEARNING OBJECTIVE 2

Be able to inspect electrical systems and equipment

| Indicate assessment method (AM) when complete DO – PE – RA – PD – WT – OQ – WQ – JR. Indicate job number JobN, where the evidence relates. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Assessment criteria description | JobN | AM | JobN | AM |
| - Assess whether the safe system of work is appropriate to the work activity - Carry out a visual inspection in accordance with the requirements of the installation specification, the IET Wiring Regulations and IET Guidance Note 3 - Complete a schedule of inspections in accordance with the IET Wiring Regulations and IET Guidance Note 3 making technical decisions |  |  |  |  |

Continued

104	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

CHECKLIST (CONTINUED)

## LEARNING OBJECTIVE 3

### Be able to test and commission electrical systems and equipment

| Indicate assessment method (AM) when complete DO – PE – RA – PD – WT – OQ – WQ – JR. Indicate job number JobN, where the evidence relates. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Assessment criteria description | JobN | AM | JobN | AM |
| - Select the correct test instruments and their accessories for tests - Carry out tests in accordance with the installation specification and the IET Wiring Regulations and manufacturers’ instructions - Analyse and verify test results, reporting all findings to relevant persons, as appropriate - Complete in accordance with the IET Wiring Regulations and IET Guidance Note 3: - electrical installation certificates: - schedules of inspections - schedules of test results - minor electrical installation works certificates - Complete the handover of electrical systems and equipment to relevant persons, including the provision of accurate and complete documentation regarding the completed inspection, testing, commissioning and customer satisfaction - Demonstrate to the customer/client that the operation of the circuits, equipment and components are in accordance with the installation specification and customer/client requirements |  |  |  |  |

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	105

## RANGE/EVIDENCE TRACKER

| Which out of the following tests have been performed in accordance with the requirements of the installation specification, BS 7671 and manufacturers’ instructions? (Assess minimum of two on two separate occasions.) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Indicate the job number in which the range was met and reference the supplementary evidence. |  |  | Indicate the job number in which the range was met and reference the supplementary evidence. |  |  |
| Range LO 3.1 | Job | SE ref | Range LO 3.1 | Job | SE ref |
| Visual inspection |  |  | Earth fault loop impedance |  |  |
| Continuity of CPC |  |  | RCDs/RCBO tests |  |  |
| Continuity of RFC |  |  | Prospective short circuit |  |  |
| Insulation resistance |  |  | Functional testing |  |  |
| Polarity |  |  |  |  |  |

106	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## CANDIDATE JOB RECORD JOB 1

Job address

Job description

Test instruments and accessories required LO3.1

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	107

Health and safety checks – which of the following are to be implemented/followed during this job?

LO 1.1/1.2/1.3/2.1

|  | Safe isolation |  | Check suitable earthing system is in place |
| --- | --- | --- | --- |
|  | Permits to work |  | Checks to confirm mechanical soundness of equipment |
|  | Method statement |  | Checks to confirm suitability of equipment |
|  | Wearing correct and appropriate PPE |  | Procedures in place for the reporting of unsafe conditions |
|  | Risk assessment |  | Calibration certificates checked |

| Details of visual inspection LO 2.2 |  |  |  |
| --- | --- | --- | --- |
| Testing and commissioning LO 3.1/3.2 |  |  |  |
| Tests |  | Tests |  |
|  | Visual inspection Continuity of CPC Continuity of RFC Insulation resistance Polarity Earth fault loop impedance |  | Prospective short circuit Earth rod Earth plate Lightning conductor Photovoltaic cells Functional tests |
|  | RCDs/RCBO tests Functional testing |  |  |
| Relevant paperwork completed LO 2.3 /3.4 |  | Relevant people consulted/notified of results LO 3.3 |  |
|  | Electrical test certificates Schedules of inspections Schedules of test results Minor work certificate |  | Customers Clients Colleagues Other contractors Supervisors |

Continued

108	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

Which procedures did you follow during the handover process? LO 3.5/3.6

Client satisfaction verified

Yes No

Candidate name

Expert witness name

Assessor name

Date

Date

Date

Date

Client signature (if available)

Candidate signature

Expert witness signature

Assessor signature

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	109

## CANDIDATE JOB RECORD JOB 2

Job address

Job description

Test instruments and accessories required LO3.1

Continued

110	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

Health and safety checks – which of the following are to be implemented/followed during this job?

LO 1.1/1.2/1.3/2.1

|  | Safe isolation |  | Check suitable earthing system is in place |
| --- | --- | --- | --- |
|  | Permits to work |  | Checks to confirm mechanical soundness of equipment |
|  | Method statement |  | Checks to confirm suitability of equipment |
|  | Wearing correct and appropriate PPE |  | Procedures in place for the reporting of unsafe conditions |
|  | Risk assessment |  | Calibration certificates checked |

| Details of visual inspection LO 2.2 |  |  |  |
| --- | --- | --- | --- |
| Testing and commissioning LO 3.1/3.2 |  |  |  |
| Tests |  | Tests |  |
|  | Visual inspection Continuity of CPC Continuity of RFC Insulation resistance Polarity Earth fault loop impedance |  | Prospective short circuit Earth rod Earth plate Lightning conductor Photovoltaic cells Functional tests |
|  | RCDs/RCBO tests Functional testing |  |  |
| Relevant paperwork completed LO 2.3 /3.4 |  | Relevant people consulted/notified of results LO 3.3 |  |
|  | Electrical test certificates Schedules of inspections Schedules of test results Minor work certificate |  | Customers Clients Colleagues Other contractors Supervisors |

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	111

Which procedures did you follow during the handover process? LO 3.5/3.6

Client satisfaction verified

Yes No

Candidate name

Expert witness name

Assessor name

Date

Date

Date

Date

Client signature (if available)

Candidate signature

Expert witness signature

Assessor signature

112	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## FEEDBACK AND FORWARD PLANNING SIGN-OFF SHEET

| Supplementary evidence Supporting evidence of test sheets (copies of certificates, schedules of inspections, schedules of test results, minor works certificates) |  |  |  |  |  |  | Accepted |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Professional discussion record (confirmation of evidence) |  |  |  |  |  |  |  |
| Feedback and forward planning |  |  |  |  |  |  |  |
| Record of behaviours |  |  |  |  |  |  |  |
| B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 |

Candidate name

Assessor name

IQA name (where sampled)

Candidate signature

Date

Assessor signature

Date

IQA signature (where sampled)	Date

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	113

## THE BRIEF

This unit is designed to enable the candidate to demonstrate the practical skills and apply the associated knowledge required to diagnose and correct electrical faults in electrical systems and equipment in buildings, structures and the environment in accordance with approved industry practices, statutory and non-statutory regulations:

- Electricity at Work Regulations (1989)

- current edition of BS 7671 Wiring Regulations

- Health and Safety Act (1974)

- Building Regulations (2000)

## GUIDANCE

The performance criteria in this unit will be met using evidence from workplace opportunities. Evidence will come from you carrying out tasks in your workplace. You will need to provide a job record and supplementary evidence to cover the required ranges.

## EVIDENCE GUIDE

Evidence must be provided on a minimum of two separate occasions.

Due to the nature of this unit, evidence will be primarily captured through direct observation and/  or completion of endorsed task records. Please be aware that the templates provided will require completion if you do not use an equivalent type of evidence record in your normal work activities,   ie employer documentation.

## FORMS TO BE COMPLETED IN THIS UNIT

### By candidates

- range/evidence tracker

- two candidate job records

- supplementary evidence forms.

### By assessors

- checklists

- feedback and forward planning sign-off sheet.

## MINIMUM SUPPLEMENTARY EVIDENCE REQUIRED

Supplementary evidence may include:

- photographs

- copies of test certificates

- company fault diagnosis reports.

All of these must be relevant to the job records completed.

114	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## CHECKLIST

LEARNING OBJECTIVE 1

### Prepare to carry out fault diagnosis

| Indicate assessment method (AM) when complete DO – PE – RA – PD – WT – OQ – WQ – JR. Indicate job number JobN, where the evidence relates. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Assessment criteria description | JobN | AM | JobN | AM |
| - Check it is safe to carry out fault diagnosis - Inform the relevant personnel of the fault diagnosis work (such as personnel on the premises, users of electrical equipment) - Check the safety of electrical systems prior to the commencement of inspection, testing and commissioning - Evaluate and apply appropriate methods to ensure the safety of themselves and others when diagnosing and correcting electrical faults |  |  |  |  |

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	115

## LEARNING OBJECTIVE 2

### Carry out fault diagnosis

| Indicate assessment method (AM) when complete DO – PE – RA – PD – WT – OQ – WQ – JR. Indicate job number JobN, where the evidence relates. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Assessment criteria description | JobN | AM | JobN | AM |
| - Communicate effectively with relevant personnel (eg customer, premises manager) to ascertain the nature of the fault - Select and interpret appropriate documents (eg layout drawings, schematic diagrams, etc.) which relate to the electrical systems and equipment being worked upon - Assess and communicate potential disruption that may be a consequence of fault diagnosis and correction work to relevant people, such as: - other workers/colleagues - customers/clients - Carry out relevant inspections of electrical equipment, analysing findings - Confirm test instruments are fit for purpose, functioning correctly and are correctly calibrated - Perform suitable diagnostic tests, based on engineering decisions, to identify electrical faults - Use appropriate methods for locating faults including: - using a logical approach - using safe working practices - interpretation of test readings - Use appropriate instruments correctly to carry out fault diagnosis |  |  |  |  |

Continued

116	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## LEARNING OBJECTIVE 3

### Carry out fault rectification

| Indicate assessment method (AM) when complete DO – PE – RA – PD – WT – OQ – WQ – JR. Indicate job number JobN, where the evidence relates. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Assessment criteria description | JobN | AM | JobN | AM |
| - Assess the appropriate repairs, removals and replacements and their implications with relevant people, including one of the following: - other workers/colleagues - customers/clients - Perform fault correction procedures correctly and safely, using appropriate tools, equipment and material - Assess and verify that replacement components and associated equipment maintain: - ease of access to enable future maintenance - compliance with relevant regulations - compliance with manufacturers’ instructions/ organisational procedures - Apply appropriate procedures to ensure electrical equipment and components are left safe, in accordance with industry regulations, if the fault cannot be corrected immediately based on technical assessment - Establish and perform an appropriate inspection and testing procedure to confirm that circuits/equipment/ components are functioning correctly after completion of fault correction work - Record test results and other appropriate information regarding the fault correction work clearly and accurately and report it to relevant people |  |  |  |  |

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	117

## RANGE/EVIDENCE TRACKER

| Have electrical faults been identified? (Assess minimum of three from the following) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Indicate the job number in which the range was met and reference the supplementary evidence. |  |  | Indicate the job number in which the range was met and reference the supplementary evidence. |  |  |
| Range LO 2.6 | Job | SE ref | Range LO 2.6 | Job | SE ref |
| Loss of supply Overload Short-circuit and earth fault Transient voltage Loss of phase/line Incorrect phase rotation |  |  | High resistance joints Component, accessory or equipment faults Open circuit Signal fault |  |  |
| Have suitable diagnostic tests been performed, using the following instruments correctly? (Assess minimum of three from the following) |  |  | Relevant people consulted/notified of results (Assess one of the following) |  |  |
| Indicate the job number in which the range was met and reference the supplementary evidence. |  |  | Indicate the job number in which the range was met and reference the supplementary evidence. |  |  |
| Range LO 2.8 | Job | SE ref | Range LO 3.6 | Job | SE ref |
| Voltage indicator Low-resistance ohmmeter Insulation resistance testers EFLI and PFC tester RCD tester Tong tester/clamp-on ammeter Phase sequence tester Other appropriate |  |  | Customers Clients Colleagues Other contractors Supervisors Local councils |  |  |

118	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## CANDIDATE JOB RECORD JOB 1

Job address

Date

| Health and safety checks – which of the following are to be implemented/followed during this job? LO 1.1/1.3/1.4/2.5/3.2 |  |  |  |
| --- | --- | --- | --- |
|  | Safe isolation |  | Check suitable earthing system is in place |
|  | Permits to work |  | Checks to confirm mechanical soundness of equipment |
|  | Method statement |  | Checks to confirm suitability of equipment |
|  | Wearing correct and appropriate PPE |  | Procedures in place for the reporting of unsafe conditions |
|  | Risk assessment |  | Calibration certificates checked |

Fault description LO 2.1

What logical approach has been taken during this diagnostic procedure, and what are the possible disruptions for your client? LO 2.3/2.7

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	119

| Relevant people informed LO 1.2/2.3 |  | Relevant documents used during fault diagnosis |  | LO 2.2 |
| --- | --- | --- | --- | --- |
|  | Customers |  | Layout drawings |  |
|  | Clients |  | Schematic drawings |  |
|  | Colleagues |  | Manufacturers’ data |  |
|  | Other workers |  | Wiring diagrams |  |
|  |  |  | Board schedules |  |
|  |  |  | Maintenance logs |  |
| Instruments used LO 2.8 |  | Electrical faults identified |  | LO 2.6 |
|  | Voltage indicator |  | Loss of supply |  |
|  | Low-resistance ohmmeter |  | Overload |  |
|  | Insulation resistance tester |  | Short circuit |  |
|  | EFLI and PFC tester |  | Earth fault |  |
|  | RCD tester |  | Incorrect phase rotation |  |
|  | Ammeter |  | High resistance joints/loose terminations |  |
|  | Phase rotation tester |  | Component, accessory/equipment fault |  |
|  | Other appropriate instrument |  | Open circuit |  |
|  |  |  | Signal fault |  |

Fault diagnosis report

Analysis of findings/fault diagnosis

Appropriate repairs/replacement

Implication of repairs/replacement

Continued

120	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

If you were unable to rectify the fault immediately, how did you ensure the electrical equipment/ circuits/components are to be left safe, in accordance with industry regulations? LO 3.4

Tools and materials/equipment/components required LO 3.2

Have the relevant inspections and tests been performed? LO 3.5

Yes No

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	121

LO 3.3

Component/equipment check

Does the repair maintain

|  | Ease of access to enable future maintenance? |  | Compliance with manufacturers’ instructions? |
| --- | --- | --- | --- |
|  | Compliance with relevant regulations? |  | Compliance with organisational procedures? |

Which procedures did you follow during the handover process following the fault diagnosis and rectification works? Description may include paperwork provided to the relevant people and demonstrations performed. LO 3.5/3.6

122	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## SUPPLEMENTARY EVIDENCE: PHOTOGRAPHS

Electrical faults identified	LO 2.6	Electrical faults identified	LO 2.6

Description	Description

Date

Supplementary evidence ref.

Date	Supplementary evidence ref.

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	123

Instruments used	LO 2.8	Instruments used	LO 2.8

Description	Description

Date

Supplementary evidence ref.

Date	Supplementary evidence ref.

Continued

124	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

Electrical faults identified	LO 2.6	Electrical faults identified	LO 2.6

Description	Description

Date

Supplementary evidence ref.

Date	Supplementary evidence ref.

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	125

Instruments used	LO 2.8	Instruments used	LO 2.8

Description	Description

Date

Supplementary evidence ref.

Date	Supplementary evidence ref.

Continued

126	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

Electrical faults identified	LO 2.6	Electrical faults identified	LO 2.6

Description	Description

Date

Supplementary evidence ref.

Date	Supplementary evidence ref.

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	127

Instruments used

LO 2.8	Instruments used

LO 2.8

Description

Description

Date

Supplementary evidence ref.

Date

Supplementary evidence ref.

Client satisfaction verified

Yes No

Candidate name

Expert witness name

Assessor name

Date

Date

Date

Date

Client signature (if available)

Candidate signature

Expert witness signature

Assessor signature

128	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## CANDIDATE JOB RECORD JOB 2

Job address

Date

| Health and safety checks – which of the following are to be implemented/followed during this job? LO 1.1/1.3/1.4/2.5/3.2 |  |  |  |
| --- | --- | --- | --- |
|  | Safe isolation |  | Check suitable earthing system is in place |
|  | Permits to work |  | Checks to confirm mechanical soundness of equipment |
|  | Method statement |  | Checks to confirm suitability of equipment |
|  | Wearing correct and appropriate PPE |  | Procedures in place for the reporting of unsafe conditions |
|  | Risk assessment |  | Calibration certificates checked |

Fault description LO 2.1

What logical approach has been taken during this diagnostic procedure, and what are the possible disruptions for your client? LO 2.3/2.7

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	129

| Relevant people informed LO 1.2/2.3 |  | Relevant documents used during fault diagnosis |  | LO 2.2 |
| --- | --- | --- | --- | --- |
|  | Customers |  | Layout drawings |  |
|  | Clients |  | Schematic drawings |  |
|  | Colleagues |  | Manufacturers’ data |  |
|  | Other workers |  | Wiring diagrams |  |
|  |  |  | Board schedules |  |
|  |  |  | Maintenance logs |  |
| Instruments used LO 2.8 |  | Electrical faults identified |  | LO 2.6 |
|  | Voltage indicator |  | Loss of supply |  |
|  | Low-resistance ohmmeter |  | Overload |  |
|  | Insulation resistance tester |  | Short circuit |  |
|  | EFLI and PFC tester |  | Earth fault |  |
|  | RCD tester |  | Incorrect phase rotation |  |
|  | Ammeter |  | High resistance joints/loose terminations |  |
|  | Phase rotation tester |  | Component, accessory/equipment fault |  |
|  | Other appropriate instrument |  | Open circuit |  |
|  |  |  | Signal fault |  |

Fault diagnosis report

Analysis of findings/fault diagnosis

Appropriate repairs/replacement

Implication of repairs/replacement

Continued

130	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

If you were unable to rectify the fault immediately, how did you ensure the electrical equipment/ circuits/components are to be left safe, in accordance with industry regulations? LO 3.4

Tools and materials/equipment/components required LO 3.2

Have the relevant inspections and tests been performed? LO 3.5

Yes No

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	131

LO 3.3

Component/equipment check

Does the repair maintain

|  | Ease of access to enable future maintenance? |  | Compliance with manufacturers’ instructions? |
| --- | --- | --- | --- |
|  | Compliance with relevant regulations? |  | Compliance with organisational procedures? |

Which procedures did you follow during the handover process, following the fault diagnosis and rectification works? Description may include paperwork provided to the relevant people and demonstrations performed. LO 3.5/3.6

132	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## SUPPLEMENTARY EVIDENCE: PHOTOGRAPHS

Electrical faults identified	LO 2.6	Electrical faults identified	LO 2.6

Description	Description

Date

Supplementary evidence ref.

Date	Supplementary evidence ref.

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	133

Instruments used	LO 2.8	Instruments used	LO 2.8

Description	Description

Date

Supplementary evidence ref.

Date	Supplementary evidence ref.

Continued

134	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

Electrical faults identified	LO 2.6	Electrical faults identified	LO 2.6

Description	Description

Date

Supplementary evidence ref.

Date	Supplementary evidence ref.

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	135

Instruments used	LO 2.8	Instruments used	LO 2.8

Description	Description

Date

Supplementary evidence ref.

Date	Supplementary evidence ref.

Continued

136	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

Electrical faults identified	LO 2.6	Electrical faults identified	LO 2.6

Description	Description

Date

Supplementary evidence ref.

Date	Supplementary evidence ref.

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	137

Instruments used

LO 2.8	Instruments used

LO 2.8

Description

Description

Date

Supplementary evidence ref.

Date

Supplementary evidence ref.

Client satisfaction verified

Yes No

Candidate name

Expert witness name

Assessor name

Date

Date

Date

Date

Client signature (if available)

Candidate signature

Expert witness signature

Assessor signature

138	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## FEEDBACK AND FORWARD PLANNING SIGN-OFF SHEET

| Supplementary evidence | Accepted |
| --- | --- |
| Photographs Copies of test certificates (ie schedule of test results, minor works certificate) Company fault diagnosis reports |  |
| Professional discussion record (confirmation of evidence) |  |
| Feedback and forward planning |  |

Candidate name

Assessor name

IQA name (where sampled)

Candidate signature

Date

Assessor signature

Date

IQA signature (where sampled)	Date

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	139

A minimum of two direct observations need to be completed to meet the performance criteria in Unit 102, Apply health, safety and environmental considerations. This evidence is to be recorded within the assessor direct observation report within Unit 102. Any other performance evidence observed should be captured on the direct observation forms in this appendix.

As guidance only, direct observations may be carried out at first fix, second fix and inspection and testing. This is not mandatory.

140	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

## (COPY AS REQUIRED)

On-site pre-assessment check

Candidate prepared for assessment	Yes	No

Candidate-specific requirements discussed	Yes	No

Candidate briefed on appeals procedure	Yes	No Assessment location

Type of work to be carried out

Observation report

Continued

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	141

Oral Q&A record/video/dictaphone references

Feedback and forward planning

| Unit |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 102 | 106 | 108 | 109 | 110 | 113 | 115 |

Candidate signature

Assessor signature

IQA signature (where sampled)

EQA signature (where sampled)

OBSERVED UNIT CONTENT

Candidate name

Assessor name

IQA name (where sampled)

EQA name (where sampled)

Date

Date

Date

Date

142	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

Professional discussion record

| Candidate name | Candidate signature Assessor signature |
| --- | --- |
| Assessor name |  |

Date

Date

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	143

Reflective account/Candidate write-up

| Candidate name | Candidate signature Assessor signature |
| --- | --- |
| Assessor name |  |

Date

Date

144	2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK

Additional supplementary evidence

| Candidate name | Candidate signature Assessor signature |
| --- | --- |
| Assessor name |  |

Date

Date

2346/5357 LEVEL 3 ELECTROTECHNICAL QUALIFICATIONS: WORKPLACE LOGBOOK	145